Sampling and Analysis Protocol

For Ontario Regulation 267/03

Made under the Nutrient Management Act, 2002

July 25, 2012

Prepared by:

Ministry of Agriculture, Food and Rural Affairs

Ministry of the Environment

Table of Contents

| 1.0 | Introduction | 5 |
| --- | --- | --- |
| 1.1 | Background to Act and Regulations | 5 |
| 1.2 | Health and Safety | 5 |
| 1.3 | Sampling Frequencies | 6 |
| 1.3.1 | Soils | 6 |
| 1.3.1.1 | Soils Receiving Nutrients | 6 |
| 1.3.1.2 | Soils Receiving Non-Agricultural Source Materials | 6 |
| 1.3.2 | Non-Agricultural Source Materials | 8 |
| 1.4 | Averaging of Results | 8 |
| 1.5 | Sampling Locations | 9 |
| 2.0 | Sampling Methods | 9 |
| 2.1 | Soils In-Situ | 9 |
| 2.1.1 | Collection of Soil Samples | 9 |
| 2.1.2 | Number of Sub-Samples | 10 |
| 2.1.3 | Avoiding Bias | 10 |
| 2.1.4 | Maximum Field Size | 10 |
| 2.1.5 | Sample Collection | 11 |
| 2.1.6 | Sample Handling | 11 |
| 2.2 | Sampling Liquid Prescribed Materials in Storage Tanks, Storage Lagoons and Stabilization Ponds | 12 |
| 2.2.1 | Requirements for Agitated and Non-Agitated Facilities | 12 |
| 2.2.1.1 | Agitated Storage Tanks and Lagoons | 12 |
| 2.2.1.2 | Non-agitated Storage Tanks and Lagoons | 12 |
| 2.2.1.3 | Stabilization Ponds | 13 |
| 2.2.2 | Sample Number and Size | 13 |
| 2.2.3 | Sampling Locations | 13 |
| 2.2.3.1 | Sampling at the Hauling or Other Application Equipment | 14 |
| 2.2.3.2 | Sampling from Enclosed Storage Tanks | 14 |
| 2.2.3.3 | Sampling from Open Storage Tanks | 15 |
| 2.2.3.4 | Sampling from Storage Lagoons and Stabilization Ponds | 15 |
| 2.2.4 | Sampling Equipment and Methods | 16 |
| 2.2.4.1 | Bucket Toss Method | 17 |
| 2.2.4.2 | Dipper Method | 17 |
| 2.2.4.3 | Kemmerer Sampler | 17 |
| 2.2.4.4 | Sludge Judge | 18 |
| 2.2.4.5 | COLIWASA Method | 18 |
| 2.3 | Sampling Solid Prescribed Materials | 19 |
| 2.3.1 | Sampling Solid Prescribed Materials in Piles or Large Containers | 19 |
| 2.3.1.1 | Sampling Equipment Options for Solid NASM: | 19 |
| 2.3.2 | Sampling Solid Prescribed Materials from Continuous Processes and Unloaders | 21 |
| 2.4 | Field Quality Control (QC) | 21 |
| 2.5 | Cleaning and Prevention of Cross contamination | 22 |
| 2.5.1 | Special Cleaning Procedures for Sampling for Trace Organic Analysis | 22 |
| 2.5.2 | Procedure for Sampling for Pathogens | 23 |
| 3.0 | Laboratory Analysis | 25 |
| 3.1 | Laboratory Quality Management | 25 |
| 3.1.1 | Laboratory Accreditation Requirement | 25 |
| 3.2 | Laboratory Method | 26 |
| 3.2.1 | Method Summary | 26 |
| 3.3 | Method Detection Limit (MDL) | 27 |
| 3.3.1 | Procedure for MDL Determination | 27 |
| 3.4 | Reporting Detection Limit (RDL) | 28 |
| 3.5 | Precision | 28 |
| 3.6 | Bias | 29 |
| 3.7 | Method Working Range | 29 |
| 3.8 | Recommended Laboratory QC/QA Procedures | 29 |
| 3.9 | Data Acceptance Criteria | 30 |
| 3.10 | Data Reporting | 30 |
| 4.0 | Data Quality Requirements | 31 |
| 4.1 | Guidance on Selecting Laboratories for Analysis | 31 |
| 4.2 | Soil Analysis | 33 |
| 4.2.1 | Soil pH | 33 |
| 4.2.2 | Soil Buffer pH | 34 |
| 4.2.3 | Available Nutrients – Phosphorus | 35 |
| 4.2.4 | Available Nutrients – K, Mg and Ca | 36 |
| 4.2.5 | Available Nutrients – Zn, Zn Index | 37 |
| 4.2.6 | Available Nutrients – Mn, Mn Index | 38 |
| 4.2.7 | Available Nutrients – Nitrate N | 39 |
| 4.2.8 | Total Metals – Cd, Cr, Co, Cu, Pb, Mo, Ni, and Zn | 40 |
| 4.2.9 | Mercury | 42 |
| 4.2.10 | Arsenic and Selenium | 43 |
| 4.2.11 | Boron – Hot Water Extraction | 45 |
| 4.3 | Analysis – Land Applied Materials | 46 |
| 4.3.1 | Hydrogen Ion (pH) | 46 |
| 4.3.2 | Total Dry Matter / Total Solids | 47 |
| 4.3.3 | Total Organic Matter ( Volatile Solids) | 48 |
| 4.3.4 | Total Kjeldahl Nitrogen (TKN) | 49 |
| 4.3.5 | Ammonia and Ammonium – Nitrogen | 51 |
| 4.3.6 | Nitrate and Nitrite - Nitrogen | 52 |
| 4.3.7 | Organic Nitrogen | 54 |
| 4.3.8 | Metals – Cd, Cr, Co, Cu, Pb, Mo, Ni, and Zn | 55 |
| 4.3.9 | Mercury | 57 |
| 4.3.10 | Arsenic and Selenium | 59 |
| 4.3.11 | Total Phosphorus, Potassium, Sodium and Boron | 61 |
| 4.3.12 | E. coli | 62 |
| 4.3.13 | Culturable Salmonella spp. | 64 |
| 4.3.14 | Total Culturable Enteroviruses (a subset of total enteric viruses) | 66 |
| 4.3.15 | Viable Helminth Ova | 68 |
| 4.3.16 | Cryptosporidium Oocysts | 70 |
| 4.3.17 | Giardia Cysts | 73 |
| 5.0 | Acronyms | 75 |
| 6.0 | Glossary | 75 |

List of Tables

| Table 1-1 | # Standards for Regulated Metals in Non Agricultural Source Materials | 7 |
| --- | --- | --- |
| Table 1-2 | - Maximum Permissible Metal Addition to Soil Receiving NASM and Maximum Metal Concentrations Allowable in Soil Receiving NASM | 8 |
| Table 2.1 | Minimum Number of Sub-Samples per Composite for Different Land Application Volumes | 13 |
| Table 2.2 | Summary of Sampling Equipment | 16 |
| Table 2-3 | Field Quality Control Procedures | 21 |
| Table 3-1 | Method Performance Characteristics | 26 |
| Table 3-2 | Student's t Values at the 99 Per Cent Confidence Level | 28 |
| Table 4.3.16 | Quality Control Acceptance Criteria for Cryptosporidium (US EPA, 2001) | 71 |
| Table 4.3.17 | Quality Control Acceptance Criteria for Giardia (US EPA, 2001) | 74 |

1.0 Introduction

Proper sampling and analytical techniques are critical to accurately determine the nutrient content and other properties of materials applied to the land for the purpose of improving the growing of agricultural crops. Proper techniques have always been important, but they are now a legal requirement under the Nutrient Management Act, 2002. The techniques described in this document are intended to meet the requirements of the regulations under the Act. They can also provide guidance for other sampling and analysis requirements with similar goals.

In this document a nutrient management plan required by the regulation for a Farm Unit will be denoted as an NMP.  A nutrient management plan required for the application of non agricultural source materials (NASM) will be denoted as a NASM Plan.

1.1 Background to Act and Regulations

The Nutrient Management Act, 2002 provides for the "management of materials containing nutrients in ways that will enhance protection of the natural environment, and provide a sustainable future for agricultural operations and rural development."

The regulations that have been developed under the authority of the Nutrient Management Act, 2002 provide particulars on how this management is to occur. These regulations apply to land applied nutrients from all sources, including commercial fertilizer, manure and other agricultural source materials, and non-agricultural source materials (NASM) such as sewage biosolids and paper biosolids. A key component of the regulations is the requirement for a nutrient management plan. There are two types of nutrient management plans: NMP’s and NASM Plans.  To complete a meaningful nutrient management plan, it may be necessary to know the concentrations of nutrients and other parameters in both the soil and the materials that may be applied to land.

The regulations lay out what materials need to be sampled and analyzed, how frequently they need to be sampled, and which parameters need to be measured. These are minimum requirements. It may be desirable to sample more frequently, or to analyze for additional parameters, to optimize the management of land applied materials.

1.2 Health and Safety

There may be hazards associated with the physical act of sampling or with handling materials that could contain toxic material or pathogens. It is the responsibility of the sampler to have taken all necessary precautions and to act according to all applicable health and safety regulations pertaining to the sampling site and specific situation.

1.3 Sampling Frequencies

1.3.1 Soils

Soils may be sampled for two different purposes: to assess the initial nutrient concentration in the soil which will guide the application of nutrient containing materials for agronomic and environmental purposes, and to determine the acceptability of the site for receiving the particular material with respect to, for example, regulated metal content and pH.

1.3.1.1 Soils Receiving Nutrients

Persons applying nutrients to fields where a NMP or a NASM Plan is required, must collect a representative soil sample from each field (or section of field) as part of developing the nutrient management plan, and then at least once during each five-year period for subsequent NMP’s. The results from analyzing these samples are entered into the nutrient management plan.

For NASM Plan’s the soil samples used to develop the nutrient management plan must have been taken within the previous 5 years prior to the date that the NASM is to be land applied.

As a best management practice, in fields where nutrient levels may fluctuate widely within the five year interval, it may be appropriate to sample the soil more frequently than is required by the O.Reg 267/03. This situation can occur on sandy soils where crops that are removing large amounts of nutrients are grown. Silage corn, forages and processing tomatoes all remove large quantities of potassium from the soil, therefore, soil test levels can decline quickly to the point where yields are reduced.

Soils must be analyzed for soil pH and, if the soil has a pH below 6.0, for buffer pH. They must also be analyzed for available phosphorus (using the sodium bicarbonate extractant) and available potassium (using the ammonium acetate extractant). In addition, the sample may be analyzed for available magnesium, nitrate nitrogen, or the manganese and zinc availability indices.

It is necessary to know the available phosphorus concentration of a soil prior to applying nutrients so that application rates and setback distances can be properly determined. The soil must have been sampled and tested for sodium bicarbonate extractable phosphorus content and pH within the five years immediately prior to applying the nutrients to land.

1.3.1.2 Soils Receiving Non-Agricultural Source Materials

Persons applying non-agricultural source materials must, in addition to the nutrient analyses, have representative soil samples analyzed for the total content of each of the eleven regulated metals (Table 1-2). These soil samples must have been collected within five years prior to the application of non-agricultural source materials, as part of the preparation of the NASM Plan

In the regulation, the maximum allowable metal concentrations in soils receiving NASM are based on the "mean metal content of uncontaminated Ontario soils and approximate an upper level of background concentrations ". For some soils, one or more metal concentrations may already exceed the maximum allowed in the regulation. It is therefore necessary that soil testing be conducted prior to the application of NASM to determine the suitability of the soil. Samples collected as per Section 2.1 of this document shall be analyzed for the eleven metals listed in the regulations.

Summaries of acceptable analytical methods are presented in Section 4.

# Table 1-1 Standards for Regulated Metals in Non Agricultural Source Materials

| Parameter | CM1 |  | CM2 |  |
| --- | --- | --- | --- | --- |
|  | Aqueous Material <1% TS1 (mg/L) | Non-aqueous Material (mg/kg dw2) | Aqueous Material <1% TS (mg/L) | Non-aqueous Material (mg/kg dw) |
| Column 1 | Column 2 | Column 3 | Column 4 | Column 5 |
| Arsenic | 0.13 | 13 | 1.7 | 170 |
| Cadmium | 0.03 | 3 | 0.34 | 34 |
| Cobalt | 0.34 | 34 | 3.4 | 340 |
| Chromium | 2.1 | 210 | 28 | 2,800 |
| Copper | 1.0 | 100 | 17 | 1,700 |
| Lead | 1.5 | 150 | 11.0 | 1,100 |
| Mercury | 0.008 | 0.8 | 0.11 | 11 |
| Molybdenum | 0.05 | 5 | 0.94 | 94 |
| Nickel | 0.62 | 62 | 4.2 | 420 |
| Selenium | 0.02 | 2 | 0.34 | 34 |
| Zinc | 5.0 | 500 | 42 | 4,200 |

1 TS denotes total solids.
2 dw denotes dry weight.

- Table 1-2: Maximum Permissible Metal Addition to Soil Receiving NASM and Maximum Metal Concentrations Allowable in Soil Receiving NASM

| Metals | Maximum Metal Addition to Soil Receiving NASM (Kg / ha / 5 years) | Maximum Metal Concentrations Allowable in Soil Receiving NASM (mg/ Kg soil, dw1) |
| --- | --- | --- |
| As | 1.4 | 14 |
| Cd | 0.27 | 1.6 |
| Co | 2.7 | 20 |
| Cr | 23.3 | 120 |
| Cu | 13.6 | 100 |
| Hg | 0.09 | 0.5 |
| Mo | 0.8 | 4 |
| Ni | 3.56 | 32 |
| Pb | 9 | 60 |
| Se | 0.27 | 1.6 |
| Zn | 33 | 220 |

1 dw denotes dry weight.

1.3.2 Non-Agricultural Source Materials

Non-agricultural source materials must be of an acceptable quality to be land applied, with respect to regulated metals, and, if required, fats, oil and grease (FOG), boron, sodium and pathogens.  Category 2 and Category 3 NASM as defined in O.Reg 267/03, must be sampled and analyzed at least as frequently as specified in the regulation. Category 1 NASM, as defined in O.Reg 267/03, does not require sampling and analysis unless the application rate exceeds 20 tonne per hectare per year in which case the sampling and analysis would need to be done for phosphorous and nitrogen to determine the appropriate nutrient application rate.

The requirements to sample and analyse for pathogens apply only to sewage biosolids and NASM containing human body waste (e.g., fecal material). In the case of Category 3 NASM that is not sewage biosolids or contain human body waste, pathogen testing may be done to determine if the NASM is CP1. Category B compost is considered CP1 material.  Additional testing for culturable Enteroviruses and Helminth Ova is not required.  This material, by definition, meets the treatment and testing requirements set out in the Ontario Compost Quality Standards (PIBS 8412), updated in 2012.

1.4 Averaging of Results

Where a material is required to be analyzed for regulated metals or pathogens, the concentration of metals or level of pathogens in the material is considered to be the average, or mean, of the concentrations in the four most recent samples. This allows for any variation that may occur in sampling or analysis of the materials, while maintaining protection of the environment. Metal concentrations are calculated as a simple arithmetic mean, where the concentrations of each regulated metal in the previous four samples are added together and the resulting total is divided by four. Pathogen levels are calculated as the geometric mean where the concentrations of each pathogenic indicator in each of the previous four samples are multiplied together and the fourth root of the resulting product is calculated.

Where the mean concentration of any parameter exceeds the allowable concentration, and the generator still intends to land apply the material, the generator has the option of re-sampling the material. This is done by continuing to take representative samples with an interval between samplings of at least two days. The analytical results are then used to calculate the mean value. Sampling can continue on this basis until the mean value of all sample results within the previous 4 months is within allowable limits for all parameters. This method is for use where a large value is skewing the mean, and that value may be due to a spurious analytical result.

1.5 Sampling Locations

Samples that are being collected for total solids, nutrients, regulated metals and if required, FOG, boron and sodium analysis must be collected at the location where the material is generated and before it is transported to the land application area or agricultural operation.  This could be the generating site or storage. This is to provide the farmer with the best possible representative estimates of concentrations of the parameters measured.

Samples of material that are to be analyzed for pathogens may be collected at a location immediately after the treatment process in the liquid form.  Liquid samples are most homogenous at this point. For solid NASM the samples may be taken immediately after the treatment process or later in the process.

2.0 Sampling Methods

2.1 Soils In-Situ

2.1.1 Collection of Soil Samples

The goal in collecting soil samples is to provide a small volume of soil for analysis that is representative of the whole volume of soil within the area of interest. There are a number of different ways to accomplish this goal. This section describes the minimum sampling requirements for information purposes and outlines some of the more detailed techniques.

To be representative of the area of interest, the sample is comprised of a number of sub-samples.  The sub-samples must include the depth of soil that would normally be tilled. For most nutrients and other regulated parameters this depth is approximately 15 centimeters (6 inches). This depth is appropriate even where no tillage is used, as it represents the part of the soil where most roots are present and most nutrient absorption occurs. The exception to this are the soil nitrate samples, which are collected at a depth of 30 cm (12 inches) to include nitrate which may have been leached from the surface soil to the lower part of the rooting zone. To collect sub-samples at the proper depth, the easiest equipment to use is a sampling tube or auger, which is simply inserted to the proper depth and then removed, bringing the sample with it. A shovel or spade can be used instead, but it is more labour intensive than a sampling tube or auger, and it is much more difficult to keep each sub-sample of uniform size.

The pattern of sub-sample collection must provide a representative sample of the entire area. It means: 1) sufficient sub-samples (e.g. cores) must be collected, 2) the sub-samples must be collected so as not to introduce bias into the representative sample, 3) the area being sampled must be reasonably uniform, and 4) the area being sampled must not be too large.

2.1.2 Number of Sub-Samples

There is significant small scale variation in the nutrient content of soil, so a relatively large number of sub-samples must be collected to provide an accurate average value. In small fields (less than 5 hectares, 12.5 acres) collect a minimum of twenty sub-samples (about 50 - 75 cm3 each), and mix them together thoroughly to produce the composite sample that is to be submitted for analysis. In larger fields (more than 5 hectares, 12.5 acres), at least two additional cores must be taken for each additional hectare (2.5 acres).

2.1.3 Avoiding Bias

In areas that have been farmed, the largest source of variation in soil nutrient content is the past management of the field, so any sampling design must take this into account. Any areas that have received different nutrient applications in the past, if this is known, should be sampled separately. This includes areas where manure, fertilizer or lime have been stockpiled, laneways, and old exercise yards. These areas may have much higher nutrient contents than the field as a whole. Also avoid sampling dead furrows, as the sample would include a significant portion of subsoil which is normally much lower in nutrient content. Other factors that could affect the nutrient content include topography, soil texture, erosion, or large variations in crop yield.

2.1.4 Maximum Field Size

Even in fields that appear uniform, there can be significant variation in nutrient content. Normally, the largest area that can be represented by a single sample is ten hectares (25 acres). Larger fields should be divided, where possible, according to previous field boundaries. Failing this, divisions should be made according to distance from existing or previous barns or manure storages, or according to topography or soil type.

A single representative composite sample for fields larger than 10 hectares, up to a maximum of 20 hectares (50 acres), may be permitted where there is evidence to show that the nutrient content of the field is uniform (within 15% of the mean value), and that the management of the field is uniform.

Where samples for metal analysis must be collected (for example, where application of sewage biosolids is planned), a single representative composite sample for a field size of up to 40 hectares (100 acres) is permitted.

2.1.5 Sample Collection

The best way to ensure a representative sample of the field is to traverse the field in a zig-zag pattern, collecting grab or sub-samples (e.g., cores) randomly from the entire field area. Take separate samples for analysis from any parts of the field that differ markedly in appearance of the soil or the crop. Clean equipment between collecting different samples to avoid cross-contamination (see Section 2.5).

In some situations, particularly for high value crops, more intensive sampling techniques are used. If this practice is used, each sampling area should be treated as a small field for the purposes of defining any application limitations. Further information on sampling techniques can be found in OMAFRA Publications 611 (Soil Fertility Handbook) and 811 (Agronomy Guide for Field Crops).

Collect the soil sub-samples in a clean pail or other suitable clean container, break up the lumps and mix the soil well. Place a sub-sample of the soil in an appropriate, properly labeled container for shipment to the accredited analytical laboratory.

Where non-agricultural source materials are to be applied to soils, it is recommended that the sampling locations be geo-referenced. At a minimum, this means providing the GPS co-ordinates of one corner of the field, and the distance and direction of the area encompassed by the samples. While co-ordinates for each sub-sample are not required, this can be included with the sample information.

2.1.6 Sample Handling

Once a representative soil sample has been taken, it may be necessary to fill a variety of analysis –specific containers for shipping to a laboratory. For example, samples to be analyzed for trace contaminants will require special handling and containers that are specific to each contaminant. The laboratory will provide information on the handling requirements for trace contaminants. The receiving laboratory may have a preference for the type of container, for example, plastic bags or plastic lined paper are generally favoured because they keep each sample separate from the other, and prevent moisture from soaking any information sheets included with the samples.

No special handling is required for samples to be analyzed for pH, metals, or most nutrients. It is desirable to air dry the samples if they are to be held for a long period of time. The samples should be held in a cool, dry location. The exception to this is samples to be analyzed for nitrate nitrogen, which must be cooled to below 10°C (preferably to below 4°C), and kept cool until analysis. If the samples for nitrate nitrogen are stored at room temperature, nitrification can occur within the sample and distort the analytical results.

2.2 Sampling Liquid Prescribed Materials in Storage Tanks, Storage

Lagoons and Stabilization Ponds

This section applies to sampling liquid prescribed materials for nutrients and material quality.  In the case of NASM, these sections also apply to sampling for pathogens where the sample location recommended is immediately after the treatment process.  For pathogen testing, special instructions regarding containers, additional sample handling and shipping requirements are described in section 2.5.2.

2.2.1 Requirements for Agitated and Non-Agitated Facilities

Liquid materials pose special challenges in collecting representative samples. Most of the liquid materials considered for application to land are suspensions rather than true liquids, and tend to settle into layers of varying density and nutrient content. Where distinct layers are to be applied to land in separate applications (for example,

the supernatant and the settled solids from a lagoon), each layer must be sampled separately. Alternatively, if all layers are to be applied at the same time, the material must be agitated prior to application to produce a relatively uniform mixture. The following provides a summary of the different approaches required when sampling from a storage tank or lagoon that is agitated and from a facility that is not agitated.

2.2.1.1 Agitated Storage Tanks and Lagoons

Agitation can be carried out using a mechanical mixing device, aeration device or using a hauling truck’s pumping system. It must provide a well mixed material for sampling where the solids concentration is homogeneous throughout the material to be sampled.

Agitation of a storage tank or lagoon can be carried out on a continuous basis, or only done prior to sampling. When used prior to sampling, agitation must be carried out for a period of time long enough to result in homogeneous mixture of material for sampling.

For large storage lagoons, agitation can be provided at the outlet section of the lagoon only, provided the volume agitated is at least equal to the volume to be removed between sampling events.

2.2.1.2 Non-Agitated Storage Tanks and Lagoons

Non-agitated storage tanks or lagoons will likely have at least two distinct layers (settled solids and supernatant). Special care is required to obtain representative samples from materials that have stratified.

When sampling from a tank or lagoon with at least two layers, and where each layer is to be land applied separately, separate samples must be taken and analyzed for each layer to be land applied. The depth of each layer must be determined before sampling to identify the sampling depth. The depth can be determined using a weighted tape measure, probe line or other suitable measuring device.

When sampling from a tank or lagoon with at least two layers where the layers will be land applied simultaneously, the sample taken must have a representative volume from each layer to be land applied.

2.2.1.3 Stabilization Ponds

For stabilization ponds where the settled solids are to be land applied, samples of the settled solids must be taken before land application. The samples taken should be representative of the material to be removed for land application.

2.2.2 Sample Number and Size

A minimum of five sub-samples must be collected and composited for each storage facility for each sampling event. The number of sub-samples required is based on the volume removed for land application per sampling period. Table 2.1 provides a summary of the minimum number of sub-samples required per composite sample.

Table 2.1 Minimum Number of Sub-Samples per Composite for Different

Land Application Volumes

| Volume Removed per Sampling Period | Minimum Number of Sub-Samples per Composite |
| --- | --- |
| Less than 1,000 m3 | 5 |
| 1,000 m3 to 10,000 m3 | 10 |
| Greater than 10,000 m3 | 15 |

Normally one 500 mL sample bottle will suffice for nitrogen, phosphorus and total solids analyses.  An additional 500 mL sample bottle, which can be taken from the mixture already collected, is required for metals analyses when these are required.  Separate bottles are required for mercury and pathogen analyses.  Sample bottles must not be filled more than 1/2 to 2/3 full, so that there is enough headspace in the bottle to allow for the build-up of pressure and prevent bursting.  For additional guidance on sampling for pathogens see Section 2.5.2.

2.2.3 Sampling Locations

There are five possible types of sampling locations for liquid prescribed materials:

• as the material is being loaded onto the hauling or application equipment;

• from an open storage tank;

• from an enclosed storage tank;

• from a storage lagoon; and,

• from a stabilization pond.

The following provides information on the requirements for sampling from the different locations. Section 2.2.4 provides information on the sampling equipment and methods that can be used at each sampling location.

2.2.3.1 Sampling at the Hauling or Other Application Equipment

Samples of liquids can readily be taken from taps or valves situated on pipe-work from the storage facility to a truck or other application equipment or from a tap on the truck or application equipment. Where this option is available and enables a representative sample to be taken, the pipe-work should be flushed clear of static or stagnant material prior to taking a sample. The period of time required to flush the pipe-work will depend on the length and diameter of the pipe, the available “head” (i.e. the pressure exerted by the bulk of material stored above the sample line) and, if a pump is fitted, the pump rate.

The minimum number of sub-samples required should be taken evenly spaced out over the time that the material is being transferred to the hauling or other application equipment. Only one sub-sample per load should be taken.

2.2.3.2 Sampling from Enclosed Storage Tanks

If the tank is agitated and has a sampling line, samples can be taken from the sampling line. The line should be flushed prior to taking a sample to remove any static or stagnant material.

Sampling material in a non-agitated enclosed tank should be carried out from at least one sampling port (or hatch) at the top of the tank. If more than one hatch is available, samples should also be taken from these locations. Sampling locations should not be located close to inflow pipes or other inlets.

Sampling material from a sampling port at the top of the tank may be hazardous, depending on the material stored in the tank and the potential for toxic or explosive vapours in the headspace of the tank. Before proceeding to sample from the top of an enclosed tank, sampling personnel should follow all appropriate health and safety procedures, including, but not limited to, the following:

- review all information concerning the tank, such as the type and capacity of tank, condition of tank, and known/suspected contents;

- inspect the ladder, stairs, catwalk or other structure to be used to access the sampling port to ensure that they will support the person(s) doing the sampling;

- review all safety procedures and emergency contingency plans with regard to potential toxic or explosive vapours in the tank headspace;

- if the tank is metal, ensure that the tank is properly grounded; and

- remove all sources of ignition from the immediate area.

Where toxic or explosive vapours are likely to be present in the tank headspace, air quality measurements should be taken and sampling from the top of the tank should only proceed if the readings meet acceptable air quality standards. In addition, before sampling commences, the tank headspace should be cleared of any toxic or explosive

vapours using a high volume explosion proof blower.

If there is the potential that sampling from these types of facilities requires a confined space entry, appropriate health and safety measures must be followed and training may be required. For further information on health and safety information related to sampling from enclosed tanks, refer to the Ontario Ministry of Labour’s Confined Spaces Guideline.

2.2.3.3 Sampling from Open Storage Tanks

If the tank is agitated and has a sampling line, samples can be taken from the sampling line. The line should be flushed prior to taking a sample to remove any static or stagnant material.

Sampling material in a non-agitated open tank should be carried out from the top of the tank. Where there is a walkway over an open tank, the locations may consist of randomly selected sites below the walkway. If there is no walkway, the sites should be randomly selected around the perimeter of the tank. Reasonable effort should be

made to take samples from the whole area of the tank. Sampling locations should not be located close to inflow pipes or other inlets.

While the potential for toxic or explosive vapours is not as great as for enclosed tanks, they may still occur above an open tank. In addition, there are potential health and safety issue with structures used to access the tank for sampling. Sampling personnel should, therefore, follow the same safety procedures and take the same safety precautions as outlined for sampling from the top of an enclosed tank in the previous section

2.2.3.4 Sampling from Storage Lagoons and Stabilization Ponds

Sampling materials from storage lagoons and stabilization ponds should be conducted using either a transect or grid sampling approach. The following describes these two methods:

- Transect Method: When using the transect method, two transects should be carried out: one (1) transect across the length of the lagoon; and (1) transect perpendicular to the other across the width. The point where both transects intersect should be near the centre of the lagoon. Sampling along each transect should be carried out at a minimum of five (5) pre-determined sampling locations (e.g. take samples every 15 m along the transect).

- Grid Method: When using a grid approach, the lagoon should be divided into blocks and sampling should be carried out at a minimum of five (5) predetermined locations equally spaced within the blocks. Additional sampling at a greater number of equally spaced locations within a greater number of blocks will improve the accuracy of the results.

For stabilization ponds, sewage biosolids can also be sampled from dewatered piles prior to land application as an alternative to sampling from the stabilization pond itself.

2.2.4 Sampling Equipment and Methods

The type of sampler used is dependent on where the sample is to be taken and if it is from an agitated or non-agitated storage facility. The following provides a brief description of the type of samplers commonly used, where they can be used and the methodology for each. Table 2.2 presents a summary of the type of equipment appropriate for different sampling requirements.

For all sampling, sub-samples must be collected using clean equipment and placed in a non-metallic container, which is covered except when the next sub-sample is being added. Mix the resulting composite sample thoroughly to ensure homogeneity. The composite sample can then be transferred to clean sample bottles for analysis.

Table 2.2 Summary of Sampling Equipment

| Sample Method | Appropriate Use |
| --- | --- |
| Bucket toss | Agitated storage tank or lagoon Supernatant from a non-agitated storage tank or lagoon |
| Dipper | Agitated storage tank or lagoon Supernatant from a non-agitated storage tank or lagoon |
| Kemmerer sampler | Settled solids from non-agitated storage tank or lagoon Settled solids from a stabilization pond |
| Sludge Judge | Settled solids from non-agitated storage tank or lagoon Simultaneous supernatant and settled solids samples from non-agitated storage tank or lagoon Settled solids from a stabilization pond |
| COLIWASA | Settled solids from non-agitated storage tank or lagoon less than 4.5 m deep Simultaneous supernatant and settled solids samples from non-agitated storage tank or lagoon less than 4.5 m deep Settled solids from a stabilization pond less than 4.5 m deep |

Additional information can be found in Sections 2.4 and 2.5 of the Protocol with regards to field quality control and sample bottle requirements and equipment cleaning.

2.2.4.1 Bucket-Toss Method

This method is appropriate when sampling:

• an agitated storage tank or lagoon; or

• supernatant from a non-agitated storage tank or lagoon.

Attach a rope to a small plastic bucket and then throw the bucket out into the tank or lagoon, let it sink and then carefully pull the bucket back. When sampling supernatant, make sure that it does not contain surface scum or solids and that the sample is taken from approximately the midpoint of the supernatant depth.

Swirl the bucket and then pour about 1 litre of the contents into a second clean plastic bucket. Repeat this from different locations around the perimeter of the tank or lagoon until the required number of sub-samples has been taken.

2.2.4.2 Dipper Method

This method is appropriate when sampling:

• an agitated storage tank or lagoon; or

• supernatant from a non-agitated storage tank or lagoon.

Tape a clean plastic bottle securely to a pole that is long enough to reach over any scum collected at the edge of the tank or lagoon. Remove the required number of sub-samples and pour them into a clean plastic bucket. When sampling supernatant, make sure that the sub-samples are taken from approximately the midpoint of the

supernatant depth. Once all of the sub-samples have been taken, mix the bucket contents and transfer to sample bottles for analysis.

2.2.4.3 Kemmerer Sampler

This type of sampler is appropriate when sampling:

• settled solids from a non-agitated storage tank or lagoon; or,

• settled solids from a stabilization pond.

This type of sampler consists of a cylindrical body with seals on the side of the cylinder that are closed using a weight.  The sample procedure for this equipment is as follows:

- Lower the sampler carefully to the desired depth, allowing the line for the trigger to remain slack at all times.

- When the desired depth is reached, trigger the sampler to collect the sample by sending the weighted messenger down.

- Transfer the sample to a non-metallic container.

- When all sub-samples are taken, mix the contents of the non-metallic container and transfer to the sample bottle (s) for analysis.

2.2.4.4 Sludge Judge

This method is appropriate when sampling:

- settled solids from a non-agitated storage tank or lagoon;

- supernatant and settled solids simultaneously for non-agitated tanks and lagoons when the layers are to be land applied at the same time; or,

- settled solids from a stabilization pond.

The sampler consists of plastic pipe in sections (typically 1.5 m long each) with screw type fittings. Various diameters of sampler are available, and typically the 1.3 cm (1/2 inch) diameter sampler is appropriate. The procedure for this sampler is as follows:

- Lower the Sludge Judge to the bottom of the tank or lagoon.

- When the bottom has been reached, the pipe will fill to the surface level. This will seat the check valve, trapping a column of the material. The sampler may need a quick ‘jolt’ to fully seat the valve.

- The Sludge Judge is removed clear of the material and the material released by touching a pin extending from the bottom section against a hard surface.

- Transfer the sample to a non-metallic container.

- When all sub-samples are taken, mix the contents of the non-metallic container and transfer to the sample bottle (s) for analysis.

2.2.4.5 COLIWASA Method

A Composite Liquid Waste Sampler (COLIWASA) is appropriate for:

• taking settled solids samples at depth from non-agitated tanks or lagoons; or,

• taking a sample of the supernatant and settled solids simultaneously for non-agitated tanks and lagoons when the layers are to be land applied at the same time.

This method is only suitable for use in tanks and lagoons that are less than 4.5 m deep.

A COLIWASA consists of a long tube with a stopper at one end, attached by a rod running the length of the tube to a locking mechanism at the other end. Manipulation of the locking mechanism opens and closes the sampler by raising and lowering the stopper.

The procedure for using a COLIWASA is as follows:

- Put the sampler in the open position and slowly lower it into the material to be sampled to the bottom of the tank or lagoon.

- Push the sampler tube downward against the stopper to close the sampler and lock the sampler in the closed position.

- Slowly withdraw the sampler from the tank or lagoon and discharge the contents of the sampler into a plastic bucket.

- Repeat the procedure until the required number of sub-samples has been taken.

- Mix the contents of the bucket and transfer a composite sample to a sample bottle for analysis.

2.3 Sampling Solid Prescribed Materials

2.3.1 Sampling Solid Prescribed Materials in Piles or Large Containers

Sampling from large piles of materials, such as solid manure, food manufacturing residuals or paper mill biosolids, can pose problems with respect to obtaining samples that are representative of the piles. It is difficult to collect any samples other than surface samples. Since some materials have a tendency for fine and coarse fractions to separate when piled, surface samples are not likely to be representative. Because many piled materials have a large amount of inherent variability, collecting a representative sample will be difficult at any time.

The preferred method of sampling piles is for samples to be obtained from different depths and mixed together such that the resulting composite sample is representative of the pile. This is most easily accomplished when the storage is being emptied, as sub-samples can be collected as the material is being loaded. If the material is being loaded by means of a conveyor belt, the sample should be taken in a single motion using a scoop across the complete cross section of the stream to obtain a representative sample.

If the piles must be sampled in situ, then some form of equipment to extract cores from the entire depth of the pile will be necessary, including those shown in the table below.  Dewatered materials, which contain polymer, may vary in consistency and may be too condensed to permit sampling with augers or thief samplers and a shovel may be the only option.  Loosely packed granular materials will more easily permit use of the sample devices available:

2.3.1.1 Sampling Equipment Options for Solid NASM:

- Shovels, trowels or hand scoops - for collecting samples from a stockpile or a flowing stream of solid material from conveyors.  A clean shovel is used to access deeper layers of a pile and sterile scoops are available at laboratory supply companies for collecting sub-samples for pathogen testing, and are particularly useful for CP1 NASM materials.

- Sample Augers – rotating core devices with spiral blades for sampling compacted materials in cross section at various depths.  Augers are available at hardware and laboratory supply stores.

- Triers – a tube cut in half lengthwise with sharpened tip to allow the sampler to cut into sticky materials such as dewatered and lime stabilized sewage biosolids.  Triers are available at laboratory supply companies.

- Thief Samplers – two slotted concentric tubes made of stainless steel or brass. Rotation of the inner tube will open and close the tube to collect sub-samples at various depths.

Solid materials can be highly variable in their chemical analyses or pathogen levels. It is therefore necessary that for such materials at least 10 sub-samples be collected and composited to form the final sample that is submitted for analysis. To accurately characterize the material, subsamples must include material from all depths of the pile.  If the subsample cannot be collected by coring or otherwise collected in such a way as to include material from the entire depth of the pile, additional subsamples must be collected so that material from all depths of the pile is proportionally represented in the composite sample.  Each composite sample should not represent more than 500 tonnes of dry matter. Place the sub-samples in a clean container that can be covered or sealed between sample additions to prevent moisture loss. Once all the sub-samples have been collected, empty them onto a large surface (of appropriate composition) for mixing.”

The most efficient way of obtaining a representative sample from the composite sample is to mix and chop the material with a clean shovel, then divide the pile into quarters. Discard two opposite quarters, combine the remaining two, and repeat the process until a composite sample of the desired size is obtained. The composite sample should total approximately 1 kg. The same result can be obtained by taking small sub-samples from all sections of the sample until a sample of approximately 1 kg has been obtained. Alternate methods approved by a recognized standards organization, such as  American Society for Testing and Materials (ASTM), International Organization for Standards (ISO) and Bureau de Normalisation du Québec  (BNQ) may also be followed. Place the composite sample in a container or bag (see Table 2.3, then place in an appropriate container for shipping to the laboratory for analysis.

For pathogen analyses there are additional steps must be followed as described in section 2.5.2 to maintain sample sterility and avoid contamination while obtaining a composite sample. Additionally, the samples must be stored on ice and shipped to and received by the testing lab and analyses initiated within 30 hours.

2.3.2 Sampling Solid Prescribed Materials from Continuous Processes and Unloaders

In some situations it may be necessary or desirable to sample a material that is resulting from a continuous process or from an unloader. It is likely that proper sampling from the material stream will produce more accurate and representative samples at less cost than sampling of the final large pile or hopper. The main principle in sampling material streams is that the sample must be representative of the entire stream.

Discharges from a belt should be sampled with a scoop or shovel which has been chosen or fabricated to match the width and general contour of the belt as closely as possible. Sub-samples can be taken at any convenient point along the belt as long as the entire width of the belt is being sampled or the sample should be taken in a single motion across the complete cross section of the flowing stream. Any fines or liquid present on the belt must be included in the sample.

For any sampling strategy for material streams, the sampling frequency and the number of sub-samples combined into composite samples depends on the variability of the material over time. Possibilities for taking representative sub-samples include taking samples every hour over eight to twenty four hours (depending on the process schedule) and combining the sub-samples to form daily composites, as well as taking daily sub-samples for a week and combining them into a weekly composite. Since the sampling period and number of samples will vary for each process, it is important that sampling personnel be familiar with the variability of the material stream both over time and at different locations in the process. The sampling program must result in characterization of this variability as well as the ability to provide a representative sample of the material.

Often, solid discharges fall into a hopper or storage area directly from a process. In these situations, long-term composites may be obtained by sampling the material after it has accumulated. Random sub-samples can be taken from the hopper or storage area provided that the sampling strategy results in samples that are representative of the material. It may be necessary to mix materials prior to sampling if separation of materials has occurred in the container.

2.4 Field Quality Control (QC)

Table 2-3 provides a summary of the field quality control procedures that must be used for sampling for nutrient management activities

# Table 2-3 Field Quality Control Procedures

| Type of Sample | Nutrients Composite | Metals Composite | Organics Composite | Pathogens* Composite |
| --- | --- | --- | --- | --- |
| Container | Plastic, glass | Plastic, glass with plastic or Teflon lined lids | Solvent rinsed, amber glass with foil or Teflon lined lids | Sealed , sterile plastic bags/ appropriate sterile containers |
| Field QC samples | Recommend that QC program uses duplicates. | Recommend that QC program uses duplicates. | Recommend that QC program uses duplicates. | Recommend that QC program uses duplicates. |
| Storage | For nitrogen, in field keep cool and out of sun and refrigerate <10°C for storage |  | In field keep cool and out of sun and refrigerate <10°C for storage | In field, keep cool and out of sun and refrigerate at 4 ±3°C for storage, without freezing. |
| Additional Requirements |  |  | No contact of sample with plastics during sampling or storage | N/A |

*Please note that E. coli (Method E3433) does not confirm presence of pathogenic E. coli.

2.5 Cleaning and Prevention of Cross contamination

For all forms of sampling, equipment and containers must be cleaned and rinsed between collection of separate samples for analysis (that is, between sites, locations or sampling times), such that cross contamination of samples is minimized. Thorough washing of equipment with soap or detergent followed by a thorough rinse with clean water (preferably distilled or deionized) should be adequate for the standard parameters to be analyzed.

2.5.1 Special Cleaning Procedures for Sampling for Trace Organic Analysis

Analysis for trace organic compounds is not normally required; however there may be situations where materials proposed for land application are suspected of containing specific trace organic compounds due to the particular process used to produce them. Special considerations regarding prevention of cross contamination apply when sampling for trace organic constituents. The basic methodology for sampling for trace organics is the same as that for inorganics described in the preceding sections. However, samplers must adhere to the following additional procedures:

a) Control of Cross-contamination

Sampling for trace organic contaminants requires special techniques to avoid contamination both from other samples and from sampling equipment and containers. Where potentially dangerous levels of contaminants are suspected, the sampler should wear protective gloves made of solvent-resistant material (e.g., latex). Neither gloves nor bare hands should contact the sample directly.

b) Equipment Cleaning Procedures

The sampler must carefully clean all sampling equipment which contacts material directly (i.e. samplers, corers, knives) between sites. The recommended cleaning procedure is as follows:

      - Remove adhering particles of the material by scrubbing with dilute laboratory soap solution.

      - Rinse thoroughly with distilled water.

      - Rinse with acetone. *

      - Rinse with hexane. *

- * Use methanol as the rinsing solvent where acetone or hexane are potential contaminants of concern.

      - Allow equipment to air-dry before sampling. Do not use a paper towel or cloth.

The sampler should place all sub-samples in a stainless steel bowl and mix the material prior to placing it in the sample jars. The bowl and mixing spoon/rod must be cleaned as per the wash/rinse procedure described above. When analysing for volatile organic compounds (VOCs), sub-samples must not be mixed or composited, as these processes cause losses of the compounds of interest. Rather, the sub-samples should be placed immediately into the appropriate containers.

c) Sample Containers and Sample Preservation

Solvent (hexane and /or acetone) rinsed, wide-mouthed amber-coloured glass jars with foil or Teflon lined lids are suitable for all classes of organic compounds (including PAH's, PCB's, pesticides, and VOC's).

The samples, with lids screwed on tightly, must be kept cool (preferably refrigerated, otherwise in coolers out of the direct sunlight) until delivery to the analytical laboratory.

2.5.2 Procedure for Sampling for Pathogens

When sampling prescribed materials for microbial pathogens the sampler should wear appropriate personal protective equipment, including gloves.  Gloves protect the sampler and the sample from contamination.  In the case of sampling for pathogens, a special focus on sterile techniques to avoid contamination needs to be maintained.  Neither gloves nor bare hands nor non-sterile sampling equipment should contact the sample directly.  Care must be taken to control microbial contamination of the sample, both from other samples and from sampling equipment.

To collect samples from tanks, lagoons, containers, stockpiles and conveyors, sampling devices will be required, as described in sections 2.2 and 2.4 and Table 2.2.  Sample devices that come in direct contact with the sub-samples to be analyzed must be clean and sterile.

a) Equipment Cleaning and Sterilization Procedures

Thorough cleaning and rinsing of sampling apparatus is required, as stated in section 2.7.  The sampler must carefully clean all sampling equipment which contacts material directly (i.e. samplers, corers, knives) between sample sites.  The recommended cleaning procedure is as follows:

- Remove adhering particles of the material by scrubbing with brush using dilute soap or detergent solution;

- Rinse thoroughly with potable water;

- Rinse again with distilled or deionized water, if possible.

- For pathogen analyses, and particularly in the case of sampling for CP1 non-agricultural source materials testing, the equipment must be sterile.  Stainless steel equipment is recommended as surfaces can be effectively cleaned and easily sterilized. Wood apparatus cannot be sterilized adequately.  Equipment can be sterilized by following the manufacturer’s instructions on autoclaves or steam cleaners, however in the absence of autoclaves or steam cleaners, sampling devices such as scoops and shovels can be sterilized by the following procedure:

  - dip clean scoop or other device in a 1:10 dilute solution of household bleach (~5% sodium hypochlorite) for a contact time of 1-minute to sterilize the device between samples;

  - rinse the chlorine off using deionized or distilled water before sampling; or purge the device through the desired sample a number of times prior to collecting the sample. Do not dry the surface with paper towel or cloth.

- Alternatively, pre-sterilized plastic scoops of various sizes and other devices are available at laboratory supply companies, thus eliminating the need to sterilize sampling equipment on site.

- Preparing Composite Samples and Sample Containers

- Analytical laboratories and laboratory supply companies typically supply sterile, sealed, plastic sample bottles or bags for collecting samples for microbiological testing.   Container capacity should be no larger than 500 mL to ensure that material cools quickly.  Typically no more than 200 mL sample volume is required for the microbiological analyses.

- Composite samples may be required in many cases such as with solid materials, in which a minimum of 5 to 10 sub-samples are required (section 2.2.2.  To adequately mix a composite sample for microbiological analysis, the mixing must be done in a sealed sterile plastic bag or other sterile vessel.  The sterile bags of approx. 1–L capacity are available from laboratory supply companies and are convenient for hand-mixing and hand-quartering the samples in a sterile environment.  After `kneading` the composite sample for three of four times (basically consistent with the `quartering` method described in section 2.3.1.1) a number of small sub-samples can be removed using a sterile scoop and placed in the sterile container to make up the 200 mL sample for analysis.

- Sample Shipping and Handling-Storage

Samples must be shipped via overnight service on the day they are collected, and shipped and stored at 4±3°C, without freezing.  Sample processing for bacteria (E. coli and Salmonella) analyses must be initiated within 30 hours of sample collection.  For protozoan parasites (Cryptosporidium and Giardia) analyses must be initiated within 48  hr.  For Helminth ova testing samples can remain refrigerated (4±3°C) for up to one month prior to analysis.  Samples for enteric virus analyses may be stored at -18°C for up to 2 weeks before analysis is initiated.

3.0 Laboratory Analysis

3.1 Laboratory Quality Management

Laboratories participating in the analysis of soil and land applied materials for the Nutrient Management Act (NMA) are required to have a sound quality management program. Quality Management (QM) is that aspect of the over-all management function that determines and implements the quality policy. International Standard ISO/IEC 17025 outlines management and technical requirements for implementing a laboratory quality management system.

3.1.1 Laboratory Accreditation Requirement

Laboratories analyzing soil for available nutrients, as required by the Nutrient Management Act (NMA), must be accredited for the applicable nutrient tests by the Ontario Ministry of Agriculture, Food and Rural Affairs under the OMAFRA Agronomic Test Accreditation Program.

Laboratories analyzing land applied materials for nutrients as required by the NMA must be accredited by the Ontario Ministry of Agriculture, Food and Rural Affairs under the OMAFRA Agronomic Accreditation Program, or by a body which accredits methods to ISO/IEC 17025 standards for analytical laboratories (such as the Standards Council of Canada, and Canadian Association for Laboratory Accreditation Inc.)

Laboratories analyzing soil or land applied materials for metals and the pathogens, as required by the NMA, must be accredited by a body which accredits methods to ISO/IEC 17025 standards for analytical laboratories (such as the Standards Council of Canada, or Canadian Association for Laboratory Accreditation Inc.)

3.2 Laboratory Method

All laboratories participating in the analysis of soil and land applied materials for NMA activities must have a formal written method used for the analysis. Bench procedures must be documented in sufficient detail to ensure uniform application and must be readily available to technical staff.

3.2.1 Method Summary

A summary of the method used for such analysis may be required by the Ministry to review data. It will assist the Ministry in evaluating if the laboratory method/performance data is in compliance with the data quality requirements of this program (Section 4).

A method summary should contain the following information as a minimum:

- Method Used, e.g., EPA 5030, MOE/LaSB E3394 or your laboratory Reference Method.

- Method Principle - Brief description of sample preparation and instrumentation.

- Sample preservation if required.

- Sample storage temperature.

- Accreditation (laboratory/method) - Type of accreditation and name of accrediting body.

- Method performance characteristics - Provide such information in a tabular form. The example is given in table 3-1.

Table 3-1 Method Performance Characteristics

| Analyte | Method Detection Limit (MDL) | Bias (%) | Precision |  | Method Working Range |
| --- | --- | --- | --- | --- | --- |
|  |  |  | Repeatability % RDS | Reproducibility % RSD |  |

Provide the name of material (s), e.g., in-house spiked matrix blank, CRM, other, and number of determinations used for this study.

3.3 Method Detection Limit (MDL)

The method detection limit is a statistically defined method attribute. Measured results falling at or above this point are interpreted to indicate the presence of an analyte in the sample with a specified probability—usually greater than 99%—and assumes that sources of error in identification or biases in measurement are known and controlled.

3.3.1 Procedure for MDL Determination

Take a minimum of eight aliquots of the sample to be used to calculate the method detection limit and process each through the entire analytical method.

If a blank measurement is required to calculate the measured level of analyte, obtain a separate blank measurement for each sample aliquot analyzed.

Calculate a result (x) for each sample/blank pair.

Calculate the standard deviation (S) of the replicate measurements as follows:

S=xi−x2n−1

where:

xi= the analytical results in the final method reporting units for the n replicate aliquots (i = 1 to 8)

x = the average of the n replicate measurements

An alternative is to use historic within run duplicate analysis data and calculate the standard deviation (S) of the duplicate measurements as follows. This is suggested for soil samples.

S=x1−x2i22n

where:

x1, x2 = the two duplicate results for each of the n replicate pairs (minimum n = 40)

Compute the MDL as follows:

MDL = t( n-1, α = 0.01 ) S

where: t( n-1, α = 0.01 ) is the Student's value appropriate for a 99% confidence level given the degrees of freedom n-1.

S = the standard deviation as determined above.

Table 3-2 Student's t Values at the 99 Per Cent Confidence Level

| Number of Replicates | Degree of Freedom (n-1) | t (n-1) |
| --- | --- | --- |
| 7 | 6 | 3.143 |
| 8 | 7 | 2.998 |
| 9 | 8 | 2.897 |
| 10 | 9 | 2.821 |
| 11 | 10 | 2.764 |
| 16 | 15 | 2.603 |
| 21 | 20 | 2.528 |
| 26 | 25 | 2.485 |
| 31 | 30 | 2.457 |
| ∞ | ∞ | 2.369 |

3.4 Reporting Detection Limit (RDL)

The RDL is typically set at a value equal to 10% of the maximum permissible contaminant concentration (MPCC). However, in a few instances, due to limitation of available analytical technology, RDL may be set a value higher than 10% of MPCC but not exceeding MPCC.

Laboratories must achieve MDL equal or less than the RDL value.

Laboratories must report all results above MDL.

3.5 Precision

Precision is the degree of agreement among independent measurements of the same quantity under specified conditions.

Precision under repeatability conditions (ISO 3534-1, 3.15 and 3.16), and under reproducibility conditions (ISO 3534-1, 3.20 and 3.21) must be established. Control limits for these should be established and maintained as part of the analytical performance criteria.

It is desirable to determine precision at ≈ 10MDL.

The precision requirement for each test is given in Section 4.

3.6 Bias

Bias is the difference between the average value obtained from a large series of test result, and an accepted reference value. Certified reference materials (CRMs), if and when available, should be used to assess bias. If a CRM of exactly the same type of material as the sample is unavailable, a similar CRM may be used. For example, a CRM of plant tissue or biosolids may be used for manure analysis.

CRM is defined as a reference material, accompanied by an authenticated certificate, having for each specified quantity a value, measurement uncertainty and stated metrological traceability chain. Reference material is a material that is sufficiently homogeneous and stable with respect to one or more specified quantities, used for the calibration of a measuring system, or for the assessment of a measurement procedure, or for assigning values and measurement uncertainties to quantities of the same kind for other materials.

For this program, certified reference material(s) is identified under each test (Section 4). Other CRMs may be used, provided they produce data within the allowable range when subjected to the same method principle.

The bias for each test is given in Section 4.

Participation in one or more proficiency testing (PT) programs also demonstrates acceptable method performance.

3.7 Method Working Range

The working range of the method for each analyte must be established and documented in the method. Working range is the range over which the analytical system exhibits a linear or other well established relationship between the amounts of material introduced into the analytical system and the instrument's response.

Measurement should be performed within the working range. If the result is suspected to be outside of the working range, appropriate dilution should be performed.

3.8 Recommended Laboratory QC/QA Procedures

The following are recommended laboratory quality procedures:

Pre-service QC:

- lab ware and reagent blanks

- calibration standards

- alternate source standards to validate in-house standards

- CRM to validate recovery/bias

- instrument detection limits (IDLs) and detector linearity/working curves
(minimum of 3 point calibration)

In-service QC:

- baseline drift blanks

- standards

- instrument checks

Run quality QC and QA:

- method blanks (matrix)

- method spiked blanks

- in-house matrix check material

- replicate sample (minimum of one set per run of 30 samples)

- spiked samples (standard addition), if applicable.

Laboratories should maintain records of data to show that the analytical systems were in control at the time of analysis. The results of these quality control and performance-monitoring checks should be control charted, and summaries readily available for inspection.

3.9 Data Acceptance Criteria

The basis for determining the acceptability of laboratory data should include the following:

- Method should be consistent with the principle as given under specific test (Section 4) has been applied.

- The performance characteristics (RDL, Bias, and precision/reproducibility) of a method used for NMA analysis should be within specifications as given under each test (Section 4).

- The results of all applicable quality control samples should be within the acceptable range. See specific tests (Section 4).

- The analytical system should be in a state of statistical control at the time of analysis as demonstrated by appropriate control charts.

3.10 Data Reporting

A laboratory's data-management system should establish and maintain direct links between sample information (such as source, field sample number or code, date and time sampled, tests required), and laboratory information (such as laboratory sample number or code, date and time analyzed, tests performed and identification of the analyst who did the work).

A properly recorded result shall include the test or analyte name or code, the units of measure, the method used for analysis and any qualifying remarks.

Analytical results may be corrected to take into account any positive results of associated method blank for some specific analysis. A method blank result above the method detection limit is normally considered a positive result. The criteria or control limits for blank corrections should be determined by laboratories on the basis of historical data, and these should be documented. Otherwise, data should be reported without correction. If a correction is made, it should be clearly identified and described.

All data should be reported. Data below RDL should have remark as < RDL. Data below MDL should have remark as < MDL.

All data for soil and land applied materials (≥ 1% solid) should be reported on a dry weight basis. Dry matter content should also be reported.

All data for dilute liquid land applied materials (< 1 % solid) should be reported on a volume basis.

4.0 Data Quality Requirements

Data quality requirements, for the analysis of soil and land applied material for the Nutrient Management Act, are given in this section.

Laboratories may use the methods that are referenced under specific tests or other validated methods that meet data quality requirements as given under each test.

4.1 Guidance on Selecting Laboratories for Analysis

A listing of laboratories accredited under the OMAFRA Agronomic Test Accreditation Program is available from the Ontario Ministry of Agriculture, Food and Rural Affairs at any of its offices, in the crop production recommendation publications (e.g. OMAFRA publications 360, 363, 811), or from the OMAFRA website at http://www.omafra.gov.on.ca/english/crops/resource/soillabs.htm.

Laboratories may be accredited to ISO/IEC 17025 standards within Canada by either the Standards Council of Canada (SCC), or the Canadian Association for Laboratory Accreditation Inc. (CALA).

A directory of SCC accredited laboratories within Canada may be obtained from the Standards Council of Canada, 270 Albert Street, Suite 200, Ottawa ON, K1P 6N7. Telephone: (613) 238-3222 Fax: (613) 569-7808. This information may also be obtained from their web site: http://www.scc.ca.

A listing of CALA accredited labs can be obtained by contacting:

Canadian Association for Laboratory Accreditation Inc.

310-1565 Carling Avenue

Ottawa, ON K1Z 8R1

Telephone: (613) 233-5300

Fax: (613) 233-5501. This information may also be obtained from their web site:  http://www.cala.ca.

- 4.2	Soil Analysis

- 4.2.1	Soil pH

- Matrix			Soil

Analysis

This analysis is required at least once within the five years prior to nutrients being applied. Soil pH is measured in a saturated paste.

- Method Principle

Soil pH is determined with a standard glass electrode pH meter in a saturated soil-water paste.

- Sample Preparation

- Samples must be air dried and crushed to pass a 2 mm sieve.

- Add sufficient distilled water to air-dried, crushed soil to make a saturated paste.  There should not be any free water on top of the soil sample.  Hand mix the sample well using a glass rod, and allow to stand for 15-20 minutes.

Instrumentation

- Standardize the pH meter with both pH 7.00 and pH 4.00 buffers. Insert the pH electrodes into the paste and determine the pH while slowly moving the electrodes within the paste.

##### Laboratory QC Samples per Run

- Calibrate the pH meter, according to manufacturer’s directions, before each set of analysis.

##### Method Performance Criteria

- Inter- and intra-lab precision must be within ± 0.3 pH units of the mean of samples from all accredited labs.

- Reference Method

- OMAFRA pH

- 4.2.2	Soil Buffer pH

- Matrix			Soil

- Analysis

- This analysis is required to determine the lime requirement of soil samples with a soil pH below 6.0. Buffer pH is measured into a sample of previously dried, crushed soil mixed with a Shoemaker-McLean-Pratt (SMP) buffer solution.

- Method Principle

- The reduction in pH of a standard buffer solution is measured to determine the amount of lime required to bring the soil pH of an acid soil into an acceptable range for crop production.

- Sample Preparation

- Samples must be air dried and crushed to pass through a 2 mm sieve.

- Combine one part air dried crushed soil with two parts SMP buffer in a disposable beaker.  Shake for 10-15 minutes, let stand 15 minutes then determine pH.

- Instrumentation

- Read the pH on a standardized pH meter, calibrated to both pH 4.00 and 7.00 buffer solutions, while electrodes are slowly moved within the suspension.

- Laboratory QC Samples per Run

- Method Blank, Matrix Matched In-House Control or CRM, Calibration Check and Sample Replicate.

- Method Performance Criteria

- Inter- and intra-lab precision must be within ± 0.3 pH units of the mean of samples from all accredited labs.

- Reference Method

- OMAFRA BpH

    - Available Nutrients - Phosphorus

- Matrix			Soil

- Analysis

- This analysis is required at least once within the five years prior to nutrients application. Plant available phosphorus is measured using the 
0.5 M sodium bicarbonate method.

##### Method Principle

- A portion of previously dried, crushed and sieved (< 2 mm) sample is extracted with a dilute alkaline solution, and P concentration is determined in the extract.

- Sample Preparation

- Samples must be air dried and crushed to pass a 2 mm sieve.

- Shake one part air-dried crushed soil for 30 minutes with 20 parts of 0.5 M sodium bicarbonate extracting solution, then let settle and filter.  Determine P concentration in extract in auto-analyzer and calculate mg P/L of soil.

- Instrumentation

- Set up the Autoanalyzer to develop the colour reaction by the 
molybdate – ascorbic acid method.  Read the sample absorbance at a wavelength of 820 nm.

Laboratory QC Samples per Run

- Method Blank, Matrix Matched In-House Control or CRM, Calibration Check and Sample Replicate.

- Method Performance Criteria

- Inter- and intra-lab precision must be within ±15% of the mean of samples from all accredited labs.

- Reference Method

- OMAFRA P

- 4.2.4	Available Nutrients - K, Mg and Ca

- Matrix			Soil

- Analysis

- Analysis of available potassium is required at least once within the five years prior to nutrients application. Analysis of available magnesium is not required as part of a NMP, but is very useful in determining the requirement for magnesium fertilizers for crop production.  Some labs may also determine the calcium content of the soil from the same extract. Plant available cations are measured using the 1 M ammonium acetate method.

- Method Principle

- A portion of previously dried, crushed and sieved (< 2 mm), sample is extracted with a dilute ammonium acetate solution, and analyzed using a spectrometric technique.

- Sample Preparation

- Samples must be air dried and crushed to pass a 2 mm sieve.

- Shake one part of air dried crushed soil with 10 parts of neutral 1 M ammonium acetate solution for 15 minutes. Let settle and then filter.  Determine concentrations in extract on atomic absorption spectrophotometer.

- Instrumentation

- Potassium (K) is determined by atomic absorption spectrometry (AAS) in the emission mode at a wavelength of 766 nm.

- Magnesium (Mg) is determined on the same extract at a wavelength of 
285.2 nm AAS. If the sample reads over 400 absorbance units, it is diluted 1:9 with ammonium acetate and the results multiplied by a factor of 10.

- Calcium (Ca) is read on same extract as Mg and K, but all samples are initially diluted 1:9 with ammonium acetate.  Ca concentration is determined by AAS at a wavelength of 422.7 nm.

- ICP may also be used to measure the concentration of cations in the extract.

- Laboratory QC samples per Run

- Method Blank, Matrix Matched In-House Control or CRM, Calibration Check and Sample Replicate.

- Method Performance Criteria

- Inter- and intra-lab precision of the K analysis must be within ± 15% of the mean (± 20% for Mg) of samples from all accredited labs.

- Reference Method

- OMAFRA Cations

- 4.2.5	Available Nutrients – Zn, Zn Index

- Matrix			Soil

- Analysis

- This analysis is not required as part of a NMP, but can be useful in determining whether a zinc deficiency might occur in crops. Soil zinc content is measured using the DTPA method.  Results from this analysis are combined with soil pH to produce an index of zinc availability in agricultural soil.

- Method Principle

- A portion of previously dried, crushed and sieved (< 2 mm), sample is extracted with a DTPA solution and the concentration of zinc is determined on an Atomic Absorption Spectrophotometer.  Zinc content and soil pH are used in a formula to produce an index of Zn availability.

- Sample Preparation

- Samples must be air dried and crushed to pass a 2 mm sieve.

- Shake one part air dried crushed soil with 2 parts of DTPA extracting solution for 1 hour. Samples are allowed to settle and then filtered.

##### Instrumentation

- Zinc is read by AAS in the emission mode at 213.9 nm.

- ICP may also be used to measure the concentration of ions in the extract.

- Zinc is reported by index using formula:

- 203 + 4.5 DPTA ext in mg/L - 50.7 soil pH + 3.33 (soil pH)2.

- Note:   A small error in pH will cause a major change in the zinc index. E.g. if you take values for soil A as 4.8 paste and 5.2 (25 mL water), the resulting values if the Zn reading is 2 mg/L, are 50.3 and 43.44 respectively – a rather large error.

- Laboratory QC Samples per Run

- Method Blank, Matrix Matched In-House Control or CRM, Calibration Check and Sample Replicate.

- Method Performance Criteria

- Inter- and intra-lab precision of the calculated index must be within ±15% of the mean of samples from all accredited labs.

- Reference Method

- OMAFRA Zn

- 4.2.6	Available Nutrients – Mn, Mn Index

- Matrix			Soil

- Analysis

- This analysis is not required as part of the NMP, but is useful in determining whether manganese deficiency may occur in crops. Soil manganese content is measured using the 0.5 M phosphoric acid method.  Results from this test are combined with soil pH to produce an index of manganese availability.

- Method Principle

- A portion of previously dried, crushed and sieved (< 2 mm), sample is extracted with a dilute phosphoric acid solution, and analyzed using an atomic absorption spectrophotometer.

- Sample Preparation

- Samples must be air dried and crushed to pass a 2 mm sieve.

- Shake one part air dried crushed soil with 8 parts 0.5 M phosphoric acid extracting solution for 10 minutes.  Let settle, and then filter.

## Instrumentation

- The manganese is read on an atomic absorption spectrophotometer at 279.5 manometers in the A.A. mode.  ICP may also be used to measure the concentration of ions in the extract.

- Manganese index is reported using the formula:

- 498 - 137 soil pH + 0.248 extracted Mn + 9.64 (soil pH)2.

- A small change in pH affects the index greatly.

- Laboratory QC Samples per Run

- Method Blank, Matrix Matched In-House Control or CRM, Calibration Check and Sample Replicate.

- Method Performance Criteria

- Inter- and intra-lab precision of the calculated index must be within ± 15% of the mean of samples from all accredited labs.

- Reference Method

- OMAFRA Mn

- 4.2.7	Available Nutrients – Nitrate N

- Matrix			Soil

- Analysis

- This analysis is not required in a NMP, but can be used to refine the nitrogen fertilizer application rates on corn or barley. Nitrate nitrogen is measured using the 2 M potassium chloride extraction.

- Method Principle

- A portion of previously dried, crushed and sieved (< 2 mm), sample is extracted with a dilute potassium chloride solution, and the concentration of nitrate in the extract determined using a colourimetric technique.

- Sample Preparation

- Take frozen or air dried soil (if frozen allow to thaw approximately 2 hours at room temperature), and sieve through 2 or 4 mesh screen.  Take smaller particles for nitrate analyses.  Clay samples or extremely wet samples will not sieve properly, you may have to cut sample into smaller pieces, using a knife or spatula.

- Shake one part fresh or air dried soil with 5 parts of 2 N KCl extracting solution for 30 minutes.  Let settle and then filter.

- Take a sample of rest of soil (5-15 g) for moisture analyses.  Dry at 105°C overnight and calculate soil moisture.

- Instrumentation

- Nitrate is determined on an auto-analyzer using the cadmium reduction technique to reduce the nitrate to nitrite, followed by reaction with a colour agent and measurement of the absorbance at 520 nm.

- Laboratory QC Samples per Run

- Method Blank, Matrix Matched In-House Control or CRM, Calibration Check and Sample Replicate.

- Method Performance Criteria

- Inter- and intra-lab precision must be within ± 15% of the mean of samples from all accredited labs.

- Reference Method

- OMAFRA NO3

- 4.2.8	Total Metals - Cd, Cr, Co, Cu, Pb, Mo, Ni, and Zn

- Matrix			Soil

- Analysis

- Soils in fields that will be receiving non-agricultural source material must be analyzed for each of the above metals. Sampling and analysis frequencies are given in Section 1.3.1. Non-agricultural source material may not be applied to soil where any of the metal concentrations in soil are equal to or greater than those given in Tables 1-1 and 1-2.

- Method Principle

- A portion of previously dried, ground and sieved (< 0.355mm), sample is extracted with a heated, strong mixed acid solution, brought to volume with pure de-ionized water and analyzed using a spectrometric technique.

- Sample Preparation

- Air-dry the sample, disaggregate and pass through a 2.0 mm sieve.

- Grind an aliquot of the above sample until the whole sample passes through a 0.355 mm sieve.

- Digest a portion of the sample (< 0.355 mm) with concentrated Nitric acid/ Hydrochloric acid mixture (1:3) by heating at 125°C for a minimum of 2 hours.

- Instrumentation	ICP/OES

- DCP, ICP/MS, flame AAS and graphite furnace AAS with suitable matrix modifiers may be used.

- Laboratory QC Samples per Run

- Method Blank, Matrix Matched In-House Control or CRM, Calibration Check and Sample Replicate.

- Method Performance Criteria

| - Analyte | - RDL - (μg/g) | - Acceptable Bias - (%) | - Precision(Reproducibility) - (% RDS) |
| --- | --- | --- | --- |
| - Cadmium | - 1 | - ± 20 | - ± 20 |
| - Chromium | - 12 | - ± 20 | - ± 20 |
| - Cobalt | - 2.5 | - ± 20 | - ± 20 |
| - Copper | - 10 | - ± 20 | - ± 20 |
| - Lead | - 10 | - ± 20 | - ± 20 |
| - Molybdenum | - 2.5 | - N/A | - N/A |
| - Nickel | - 3.2 | - ± 20 | - ± 20 |
| - Zinc | - 25 | - ± 20 | - ± 20 |

- * Bias is based upon the certified reference material, such as, NIST 2709, 2710, and 2711.

- Reference Method

- MOE/LaSB - E3073/E3470

    - Mercury

- Matrix			Soil

- Analysis

- Soils in fields that will be receiving non-agricultural source material must be analyzed for mercury. Sampling and analysis frequencies are given in Section 1.3.1. Non-agricultural source material may not be applied to soil where mercury concentration in soil is equal to or greater than that given in Tables 1-1 and 1-2.

- Method Principle

- Mercury in the sample is converted to the inorganic form by the acid digestion process. The inorganic mercury in aqueous solution is then reduced with stannous chloride, and analyzed by Cold Vapour Flameless Atomic Absorption (CV AAS.)

- Sample Preparation

- Air-dry the sample, disaggregate and pass through a 2.0 mm sieve.

- Grind an aliquot of above sample until the whole sample passes through a 0.355 mm sieve.

- Digest a portion of the sample (< 0.355 mm) with concentrated sulphuric acid/nitric acid (4:1) by heating within a temperature range of 215 °C to 235 °C for a minimum of 12 hours.

- Instrumentation

- CV-AAS

- Laboratory QC Samples per Run

- Method Blank, Matrix Matched In-House Control or CRM, Calibration Check and Sample Replicate.

- Method Performance Criteria

| - Analyte | - RDL - (μg/g) | - Acceptable Bias - (%) | - Precision (Reproducibility) - (% RDS) |
| --- | --- | --- | --- |
| - Mercury | - 0.05 | - ± 20 | - ±20 |

* Bias is based upon the certified reference material, such as, National Research Council Sediment - PACS-1 or NIST 1646 sediment.

- Reference Method

- MOE/LaSB - E3059

- 4.2.10	Arsenic and Selenium

- Matrix			Soil

- Analysis

Soils in fields that will be receiving non-agricultural source material must be analyzed for arsenic and selenium. The sampling and analysis frequencies are given in Section 1.3.1. Non-agricultural source material may not be applied to soil where concentrations of arsenic and selenium in soil are equal to or greater than those given in Tables 1-1 and 1-2.

- Method Principle

- A portion of sample is digested in an oxidizing acid mixture to convert all forms of arsenic and selenium to arsenate (AsO4)3- and selenate (SeO4)2- respectively. The arsenate and selenate are then reduced with sodium borohydride to arsine and hydrogen selenide which are then analyzed by flameless AAS.

- Sample Preparation

- Air-dry the sample, disaggregate and pass through a 2.0 mm sieve.

- Grind an aliquot of above sample until the whole sample passes through 0.355 mm sieve.

- Digest a portion of the sample (< 0.355 mm) with concentrated Nitric acid/Sulphuric acid/Perchloric acid (6:3:1) at 200°C for 16 hours.

- Instrumentation

- Hydride - Flameless Atomic Absorption Spectrophotometry (HYD-FAAS).

- ICP/MS and graphite furnace AAS with suitable matrix modifiers may be used.

- Laboratory QC Samples per Run

- Method Blank, Matrix Matched In-House Control or CRM, Calibration Check and Sample Replicate.

- Method Performance Criteria

| - Analyte | - RDL - (μg/g) | - Acceptable Bias - (%) | - Precision (Reproducibility) - (% RDS) |
| --- | --- | --- | --- |
| - Arsenic | - 1.4 | - ± 20 | - ± 20 |
| - Selenium | - 1 | - ± 20 | - ± 20 |

- * Bias is based upon the certified reference material, such as, NIST 2709 San Joaquin soil.

- Reference Method

- MOE/LaSB - E3245

- 4.2.11	 Boron - Hot Water Extraction

- Matrix			Soil

- Analysis

- The regulation may require analysis of soils where application of materials high in boron is planned, on a case-by-case basis.

- Method Principle

- A 25 g portion of previously dried, ground (< 2 mm) sample is extracted with a weak calcium chloride solution and analyzed using a spectrometric technique.

- Sample Preparation

- Air-dry the sample, disaggregate and pass through a 2.0 mm sieve.

- Combine a 25 g portion of the air dried sample with 50 mL 
0.01 M CaCl2 solution. Boil for 5 minutes, then cool and filter.

- Instrumentation

- ICP (AAS or DCP may be used)

- Laboratory QC Samples per Run

- Method Blank, Matrix Matched In-House Control, Calibration Check and Sample Replicate.

- Method Performance Criteria

Bias and precision data are under review.

Reference Method

MOE/LaSB - E3073

Note

This method can identify contaminated sites, but is not sensitive enough to identify potentially deficient sites for crop production.

  - Analysis - Land Applied Materials

- 4.3.1	Hydrogen Ion (pH)

- Matrix		Land Applied Materials (Non-agricultural source materials)

- Analysis

- Non-agricultural source materials with pH less than 6.0 or pH greater than 8.5, should not be applied to crops when they are being grown.

- Method Principle

- pH is determined with a standard glass electrode pH meter.

- Sample Preparation

###### Solid

Prepare aqueous slurry in the ratio of 1g sample: 9 mL water. Stir or shake for approximately 20 minutes, allow suspension to settle and then determine pH of liquid fraction.

##### Liquid/Slurry

Decant, filter or centrifuge a portion of sample, then determine the pH of the liquid fraction.

- Instrumentation

- pH electrode and pH meter compensated to 25°C. Accuracy and reproducibility to 0.2 pH unit with a range of  0 - 14 and equipped with temperature compensation.

- Laboratory QC Samples per Run

- 3 Buffer Checks, Sample Replicate and In-House Matrix Check.

- Method Performance Criteria

- Bias:		± 0.2 pH units

- Precision:	± 0.2 pH units

- Reference Method   MOE/LaSB - E3137 (solid)

- MOE/LaSB - E 3218 (liquid/slurry)

- Notes

- Sample preservation - store samples in refrigerator (4 - 10°C).

- Maximum sample storage time: 14 days.

4.3.2	Total Dry Matter / Total Solids

- Matrix		Land Applied Materials

- Analysis

- Accurate determination of the dry matter content of land-applied materials			is necessary to calculate application rates on a moist basis.

- Method Principle

- A portion of sample is weighed as received, dried for 16 hours at 
105 ± 5°C, cooled and reweighed. The percent total solid is determined.

- Sample Preparation

- Disaggregate the sample and pass through a 2 mm sieve. Take subsamples (10 - 25 g) of this mixture, and dry in an oven at 105 ± 5°C for 16 hours to a constant weight. Cool and reweigh sample to determine total solids as a percent of the fresh weight.

- Instrumentation

- Balance, capable of weighing ± 0.01 g.

- Laboratory QC Samples per Run

- Calibration Check and Sample Replicate.

- Method - Performance Criteria

- Bias: 100 ± 10%

- Precision: ± 10%

- Reference Method

- MOE/LaSB-3139

4.3.3 Total Organic Matter (Volatile Solids)

Matrix Solid or Liquid Land Applied Materials

Analysis

Method Principle

A portion of ground sample is dried for 16 hours at 105°C ± 5°C, then muffled at 475°C ± 25°C for 4 hours. The weight loss, and per cent ash are determined.

Sample Preparation

- 1.Disaggregate the sample and pass through a 2 mm sieve, then take and grind a sub-sample to pass through a 0.355 mm sieve.

- 2. Heat the sub-sample in a muffler oven at 475°C ± 25°C for 4 hours.

- Determine the weight loss, and per cent ash.

Instrumentation

Muffle furnace
Balance, capable of weighing ± 0.01 g.

Laboratory QC Samples per Run

Calibration Check and Sample Replicate.

Method - Performance Criteria

Accuracy: 100±10%

Precision: ±10%

Reference Method

MOE/LSB-3139

- 4.3.4	Total Kjeldahl Nitrogen (TKN)

- Matrix		Land Applied Materials

- Analysis

- Total Kjeldahl nitrogen in land applied materials is determined to provide a basis for calculating the organic nitrogen portion of the material (by subtracting the ammonium N from the total). Note: The TKN determination does not include the oxidized nitrogen parameters NO2 and NO3

- Method Principle

- Amino nitrogen in organic materials is converted to ammonium by digestion in the presence of strong acid, salt and a catalyst.  Ammonium content, which will also include ammonia and ammonium in the sample before digestion, is determined by colourimetry, ammonia selective electrode or titration.

- Sample Preparation

- Test the samples as received.  Determine the dry matter content of the material separately.

- Sample is mixed with H2SO4, K2SO4, and cupric sulphate (catalyst), and heated to 400°C to convert organically bound nitrogen to NH4.  Note: Cupric sulphate may be replaced with phenate/sodium hypochlorite

- Instrumentation

- Autoanalyzer, colourimeter

- Laboratory QC Samples per Run

- Method Blank, Matrix Matched In-House Control or CRM, Calibration Check and Sample Replicate.

- Method Performance Criteria

- Inter- and intra-lab precision must be within ± 10% of the mean of samples from all accredited labs.

- Reference Method

- AOAC 978.02

- MOE/LaSB – E3116

- Notes

- Sample Preservation - Store samples in refrigerator (4 - 10°C).  If extended storage is required (>10 days), freeze the samples.

- Method does not completely account for oxidized forms of nitrogen such as nitrate, nitrite, or nitrogen in heterocyclic ring compounds.  Nitrogen determination by combustion (Dumas method) may give better results in materials with significant contents of these forms of nitrogen.

- 4.3.5	Ammonia and Ammonium - Nitrogen

- Matrix		Land Applied Materials

- Analysis

- Ammonium nitrogen in land applied materials (which includes both ammonium and ammonia nitrogen) is determined to provide an estimate of plant available nitrogen, as well as a basis for calculating the organic nitrogen portion of the material (by subtracting the ammonium N from the TKN).

- Method Principle

- Ammonium plus ammonia nitrogen is extracted from the sample in a KCl solution.  Ammonium content in the extract is determined by colourimetry, using a modified Berthelot reaction.

- Sample Preparation

- Test the samples as received.  Determine the dry matter content of the material separately.

- Sample is mixed with 2M KCl solution, shaken, and then centrifuged or filtered.

- Instrumentation

- Autoanalyzer, colourimeter

- Laboratory QC Samples per Run

- Method Blank, Matrix Matched In-House Control or CRM, Calibration Check and Sample Replicate.

- Method Performance Criteria

- Inter- and intra-lab precision must be within ± 10% of the mean of samples from all accredited labs.

- Reference Method

- USEPA 352.2

Notes

Ammonia specific electrode may be used as an alternate method, and will be less subject to interference from discolouration of the extract.

- 4.3.6	Nitrate and Nitrite - Nitrogen

- Matrix		Land Applied Materials

- Analysis

- Samples are analyzed for nitrate nitrogen and nitrite nitrogen to assess the nitrogen immediately available to plants. Some non-agricultural source materials may contain significant amounts of nitrate and nitrite nitrogen.

- Method Principle

- Samples are analyzed using an automated colourimetric procedure which entails converting nitrate to nitrite, and then analyzing the sample for nitrite.

- Nitrate is reduced to nitrite by heating an aliquot of sample with hydrazine in alkaline media; this reaction is catalyzed by the addition of cupric ion.  Subsequently, an azo dye is formed in acid media by diazotizing sulphanilamide with nitrite and coupling the product with N (1-naphthyl) ethylenediamine dihydrochloride.  The absorbance of the light red azo dye is measured at 520 nm and the concentration of nitrate nitrogen plus nitrite nitrogen is determined by comparison with a similarly treated series of mixed Standards.

- Sample Preparation

- Liquid/Slurry

- A supernatant of the settled sample is used for this analysis.  Samples (if frozen) are thawed to room temperature prior to analysis. Highly turbid samples should be filtered to prevent clogging of the analyser fittings. Sewage sludge samples should be centrifuged prior to analysis.

##### Solid

- Under Development

- Instrumentation

- Colourimeter

- Laboratory QC Samples per Run

- Method Blank, In-House Standard, Calibration Check and Sample Replicate.

- Method Performance Criteria

- Bias:	100 ± 10%

- Precision:	10%

- Reference Method

- MOE/LaSB - E3366

Notes

- Store samples in a refrigerator (4 – 10°C).

- Maximum storage time, 7 days.

- 4.3.7	Organic Nitrogen

- Matrix		Land Applied Materials

- Analysis

- The organic nitrogen portion of the material is calculated by subtracting the ammonium N from the TKN of the sample.

- Method Principle

- Ammonium plus ammonia nitrogen, as determined in a KCl extract of the sample, is subtracted from the Total Kjeldahl Nitrogen in the sample. The difference is the organic N.

- Sample Preparation

- Extraction as defined for ammonium and total N.

- Instrumentation

- As defined for ammonium and total N.

- Laboratory QC Samples per Run

- As defined for ammonium and total N.

- Method Performance Criteria

- As defined for ammonium and total N.

- Method Reference

- N/A

- Notes

If the total N content of the material has been determined by combustion (dumas method) rather than wet digestion, the nitrate content of the material should also be determined and the nitrate as well as the ammonium content should be deducted from the total N to determine the organic N.

- 4.3.8	Metals  - Cd, Cr, Co, Cu, Pb, Mo, Ni, and Zn

- Matrix		Land Applied Materials (Non-agricultural source materials)

- Analysis

- This analysis is required as specified in the regulation.

- Method Principle

- A portion of sample is extracted with a heated, strong mixed acid solution, brought to volume with pure deionized water and analyzed using a spectrometric technique.

- Sample Preparation

- Solid (i.e. dewatered biosolids, filter cake - Method E3071)

- Digest a portion of previously air dried, ground and sieved sample with concentrated Nitric acid/Hydrochloric acid mixture (1:3) by heating at 50°C for 1 hour and then at 95°C for another 3 hours. Adjust volume with pure deionized water, decant/filter and then analyze.

- Liquid/slurry (i.e. liquid biosolids, likely 1% to 10% solids - Method E3071)

- Weigh an aliquot of homogenized sample. Digest with concentrated Nitric acid/Hydrochloric acid mixture (1:3) by heating at 50°C for 1 hour and then at 95°C for another 3 hours.  Adjust volume with pure deionized water, decant/filter and then analyze. Report results on dry weight basis.

- Clear Liquid (i.e. supernatant, less than 1% solids - Method E3094)

- Digest an aliquot of sample with concentrated Nitric acid/Hydrochloric acid mixture (1:3) by heating at 50°C for 1 hour and then at 95°C for another 3 hours.  Adjust volume with pure deionized water, decant/filter and then analyze.

- Instrumentation    ICP/AES

- DCP, ICP/MS, flame AAS and graphite furnace AAS with suitable matrix modifiers may be used.

- Laboratory QC Samples per Run

- Method Blank, Matrix Matched In-House Control or CRM, Calibration Check and Sample Replicate.

## Method Performance Criteria

| - Analyte | - RDL - (μg/g) | - Acceptable Bias - (%) | - Precision (Reproducibility) - (% RDS) |
| --- | --- | --- | --- |
| - Cadmium | - 2.0 | - ± 20 | - ± 20 |
| - Chromium | - 106 | - ± 20 | - ± 20 |
| - Cobalt | - 15 | - N/A | - N/A |
| - Copper | - 76 | - ± 20 | - ± 20 |
| - Lead | - 50 | - ± 20 | - ± 20 |
| - Molybdenum | - 2.5 | - N/A | - N/A |
| - Nickel | - 18 | - ± 20 | - ± 20 |
| - Zinc | - 185 | - ± 20 | - ± 20 |

- * Bias is based upon the certified reference material, such as, WWS-26 from Environmental Resource Associate or EPA Quality Control Sample, municipal digested sludge (SPL # 2900).

- Reference Method

- MOE/LaSB - E3071 for liquid/slurry and solid; MOE/LSB - 3094 for Clear Liquid.

- Notes

1. Sample Preservation

Clear Liquid Samples - Preserved with nitric acid to less than pH 2.

Solid/Slurry/Solid Sample - Store samples in refrigerator (4 - 10°C).

2. Maximum Sample Storage Time: 60 days

- 4.3.9	 Mercury

- Matrix		Land Applied Materials (Non-agricultural source materials)

## Analysis

- This analysis is required for non-agricultural source material only.

- Method Principle

- Mercury in the sample is converted to the inorganic form by acid digestion process. The inorganic mercury in aqueous solution is then reduced with stannous chloride, and analyzed by CV AAS.

- Sample Preparation

- Solid (e.g. dewatered sludge, filter cake - Method E3058)

- Digest a portion of previously air dried ground and sieved sample with 50% v/v Aqua Regia (hydrochloric acid/Nitric acid - v/v 3:1) in the presence of potassium permanganate by heating within a temperature range of 90°C to 110°C for 1 hour and 15 minutes. Treat excess permanganate with hydroxylamine sulphate. Reduce inorganic mercury with stannous chloride prior to analysis. Adjust volume with pure deionized water, decant/filter and then analyze. Report results on dry weight basis.

- Liquid/Slurry (e.g. liquid sludge, likely 1% to 10% solids - Method E3058)

- Digest weighed aliquot of homogenized (well mixed) sample with 50% v/v Aqua Regia (hydrochloric acid/Nitric acid - v/v 3:1) in the presence of potassium permanganate by heating within a temperature range of 90°C to 110°C for 1 hour and 15 minutes. Treat excess permanganate with hydroxylamine sulphate. Reduce inorganic mercury with stannous chloride prior to analysis. Adjust volume with pure deionized water, decant/filter and then analyze. Report results on dry weight basis.

- Clear Liquid (e.g. supernatant, less than 1% solids - Method E 3060)

- Digest an aliquot of homogenized (well mixed) sample with concentrated sulphuric acid/nitric acid (1.2:0.5) in the presence of potassium persulphate and potassium dichromate for 2 hours at 87°C ± 3°C. Adjust volume with pure deionized water, decant/filter and then analyze.

- Instrumentation

Cold Vapour Flameless Atomic Absorption (CV-FAAS)

- Laboratory QC Samples per Run

- Method Blank, Matrix Matched In-House Control or CRM, Calibration Check and Sample Replicate.

- Method Performance Criteria

| - Analyte | - RDL - (μg/g) | - Acceptable Bias - (%) | - Precision (Reproducibility) - (% RDS) |
| --- | --- | --- | --- |
| - Mercury | - 0.5 | - ± 20 | - ±20 |

* Bias is based upon the certified reference material, such as, CRM 145R (sewage sludge mixed origin) or BE - 1 (sewage sludge).

Reference Method   MOE/LaSB - E3060 (clear liquid), MOE/LaSB E3058 (slurry and solid)

Notes

Sample Preservation

1. Clear Liquid Sample - Preserve 250 mL sample with 0.5 - 1.0 mL concentrated nitric acid and 5 - 10 drops of 5% potassium dichromate solution. This should lower pH to below 2.0 and give the sample a permanent yellow colour.

Liquid Slurry/Solid Sample - Store samples in refrigerator (4 - 10°C).

2. Maximum Sample Storage Time:  15 days.

- 4.3.10	 Arsenic and Selenium

- Matrix		Land Applied Materials (Non-agricultural source materials)

- Analysis

This analysis is required for non-agricultural source material only.

- Method Principle

- A portion of sample is digested in oxidizing acid mixture to convert all forms of arsenic and selenium to arsenate (AsO4)3- and selenate (SeO4)2- respectively. The arsenate and selenate are then reduced with sodium borohydride to arsine and hydrogen selenide which are then analyzed by flameless AAS.

- Sample Preparation

- Solid - (e.g. dewatered sludge, filter cake - Method E3091)

- Digest a portion of previously air dried ground and sieved sample with concentrated Nitric acid/Hydrochloric acid mixture (1:3) at 50 °C for 1 hour and then at 95 °C for an additional 3 hours. Adjust volume with pure deionized water, decant/filter and then analyze.

- Liquid/Slurry (e.g. liquid sludge, likely 1% to 10% solids - Method E3091)

- Digest a weighed aliquot of sample with concentrated Nitric acid/Hydrochloric acid mixture (1:3)  at 50 °C for 1 hour and then at 95 °C for an additional 3 hours. Adjust volume with pure deionized water, decant/filter and then analyze. Report results on dry weight basis.

- Clear Liquid (e.g. supernatant, less than 1% solids) (Method E 3302)  Digest an aliquot of liquid with concentrated Nitric acid/Hydrochloric acid mixture (1:3) at 50 °C for 1 hour and then at 95 °C for an additional 3 hours. Adjust volume with pure deionized water, decant/filter and then analyze

- Instrumentation

- Hydride - Flameless Atomic Absorption Spectrophotometry (HYD-FAAS)

- Laboratory QC Samples per Run

Method Blank, Matrix Matched In-House Control or CRM, Calibration Check and Sample Replicate.

- Method Performance Criteria

| - Analyte | - RDL - (μg/g) | - Acceptable Bias - (%) | - Precision (Reproducibility) - (% RDS) |
| --- | --- | --- | --- |
| - Arsenic | - 7.5 | - ± 20 | - ± 20 |
| - Selenium | - 1.4 | - ± 20 | - ± 20 |

* Bias is based upon the certified reference material, such as, CRM 145R (sewage sludge mixed origin) or BE - 1 (sewage sludge).

Reference Method

MOE/LaSB - E3302 (clear liquid), MOE/LaSB E3091 (liquid/slurry and solid)

Notes

1. Sample Preservation
Clear Liquid Sample - Preserve sample with nitric acid
Liquid/Slurry/Solid Sample - Store samples in refrigerator (4 - 10 °C)

2. Maximum Sample Storage Time: 30 days.

- 4.3.11	 Total Phosphorus, Potassium, Sodium and Boron

- Matrix		Land Applied Materials

- Analysis

- Total phosphorus and potassium content of land applied materials are determined to estimate the amount of plant available nutrients being applied to land.  Sodium or boron content may need to be determined for land applied materials suspected of containing high concentrations of these elements, on a case by case basis.

- Method Principle

- A portion of sample is extracted with a heated, strong mixed acid solution, brought to volume with pure deionized water and analyzed using a spectrometric technique.

- Sample Preparation

- Solid

- Digest a portion of previously dried and homogenized sample with concentrated Nitric acid/Hydrochloric acid mixture (1:3) by heating at 50°C for 1 hour and then at 95°C for another 3 hours.  Adjust volume with pure deionized water, decant/filter and then analyze.

### Liquid/slurry

- Weigh an aliquot of homogenized (well mixed) sample and then digest with concentrated Nitric acid/Hydrochloric acid mixture (1:3) by heating at 50°C for 1 hour and then at 95°C for another 3 hours.  Adjust volume with pure deionized water, decant/filter and then analyze.

- Instrumentation

- ICP/AES

- Laboratory QC Samples per Run

- Method Blank, Matrix Matched In-House Control or CRM, Calibration Check and Sample Replicate.

- Method Performance Criteria

- Inter- and intra- lab precision must be within ±10% of the mean of samples from all accredited labs.

- Reference Method

- Under development

- 4.3.12	 E. coli

Matrix	Sewage Biosolids and other Non-Agricultural Source Materials (NASM)

- Analysis

- Municipal sewage biosolids and any other material, other than untreated septage, that contains human body waste are required to be sampled and analyzed for E.coli. prior to land application

- Method Principle

- A volume of buffered dilution water is added to a weighed amount of biosolids and processed with a Stomacher™ or equivalent.  Serial dilutions are then prepared using the supernatant.  Serial dilutions are then plated out on mFC-BCIG agar (or other selective agar) and incubated for required time and the required temperature. Alternatively an equivalent estimate most probable number (MPN) statistical method can be used to quantify culturable organisms.

- Sample Preparation

- Add an amount of buffered dilution water to a weighed mass of biosolids material.  Process in Stomacher™ or equivalent technology for 2 minutes.  Decant off supernatant.

Sample Shipping and Storage

    - Samples must be collected in sterile bottles of no larger 500 mL capacity with sample volumes of approx. 200 mL  to permit rapid cooling of sample.

    - Samples must be shipped via overnight service on the day they are collected, and shipped and stored on ice and at 4±3°C, without freezing.

    - Sample processing for bacteriological analysis must be initiated within 30 hours of sample collection.

- Instrumentation

- Classical microbiological techniques - selective agar, biochemicals for confirmation.

- Laboratory QC Samples per Run

- Positive and negative controls run with each set of samples, and addition of spiked samples for recovery.

- Method Performance Criteria

- Between analyst precision (method duplicate) and within analyst precision (analyst duplicate) and inter-technician comparative reading data points must be within 95% confidence limits (Standard Methods, 2005).

- Reference Method

- MOE/LaSB - E3433

- Notes

- Sample storage - ice bath/temperature

- Analysis must be performed within 30 hours.

4.3.13 Culturable Salmonella spp.

Matrix – Sewage biosolids and any other material, other than untreated septage, that contains human body waste

Analysis – NASM to be considered of CP1 pathogen quality are required to be sampled and analysed as per the regulation.  Such material may not be utilized as a CP1 material where densities of viable salmonellae are at or above 3 most probable number (MPN) per 4-g sample (dry weight) or per 100-mL if aqueous NASM sample of < 1% total solids on a wet weight basis.  A minimum of 100 mL or 4-g dry wt sample must be analyzed to report a non-detect.

Method Principle – The sample is diluted, homogenized and inoculated into selective growth media and all Salmonella spp. are enumerated statistically using the most probable number method (MPN), which involves making the required number of serial decimal dilutions of the original sample in three or five replicates to obtain a statistical estimate of salmonellae density.  The specific method protocol must meet the performance criteria described below.

Sample Preparation –

Liquid:  A minimum of 100-mL or 4-gram sample volume must be accommodated by a modification of standard MPN procedures by increasing sample volumes or by concentration by filtration or other suitable mechanism.

Solid: A volume of buffered dilution water is added to a weighed amount of NASM and homogenized.  Sterile. high-volume plastic bags can be used for homogenization, unless the sample contains hard debris that may pierce the plastic bag. Salmonella spp. are enumerated from the sample using the 3-tube MPN method of 3- replicates carried in 3 or more serial decimal dilutions.  A minimum of 100 mL or 4-g sample must be analysed to report a non-detect.

Instrumentation – filter apparatus, incubators, sterile tubes, sterile, sealed, high capacity (e.g., 1-L) plastic bags (e.g., Stomacher™ bags or equivalent).

Sample Shipping and Storage-

- Samples must be collected in sterile bottles of no larger volume than 500 mL to permit rapid cooling of sample, with approx. 200 mL of sample required.

- Samples must be shipped via overnight service on the day they are collected, and shipped and stored and at 4±3°C, without freezing.

- Sample processing must be initiated within 30 hours of sample collection.

Laboratory QC Samples per Run – One method blank and one spiked positive control for every 20 samples, or each week during which samples are analyzed if 20 or fewer samples are analyzed.

Performance Criteria:

Detection limits of Salmonella spp. in all matrices (biosolids and any other material, other than untreated septage, that contains human body waste.) are expected to be 3 MPN Salmonella MPN per gram dry weight of material based on validation work (Laboratory Methods Validation Study for Pathogens in Pulp and Paper Mill Biosolids and other NASM, Univ. of Guelph, Final Report for MOE, February 28, 2007).

Reference Methods:

(1) APHA 1992.  Standard methods for the examination of water and wastewater.  Method 9260 D.  American Public Health Association.

And sample preparation for sludges:

(2) US EPA Report No: EPA/625/R-092/013. (Revised July 2003) Environmental Regulations and Technology: Control of pathogens and vector attraction in Sewage Sludge. Appendix F:  Sample preparation for fecal coliform tests and Salmonella sp. analysis. Cincinnati, OH: Office of Research and Development.

4.3.14 Total Culturable Enteroviruses (a subset of total enteric viruses)

Matrix:  Sewage biosolids and any other material, other than untreated septage and Category B compost, that contains human body waste

Analysis:

Sewage biosolids and any other material, other than untreated septage, that contains human body waste may be tested to be considered of CP1 pathogen quality.  This material cannot be deemed CP1 material if the level of total culturable enteroviruses exceeds 1 plaque forming units (pfu) per 4-g dry weight (wt).  A minimum of 4-g sample on a dry wt basis must be analysed to report a non-detect. Category B compost is considered CP1 quality and additional testing is not required for total culturable enteroviruses.

Principle method:

Solids: Culturable enteroviruses are first adsorbed to solids under select solution conditions (such as pH) and concentrated by centrifugation followed by removal/desorption and solids removed by centrifugation by change in solution conditions.

Solids and liquids: Culturable enteroviruses in the centrate liquid after extraction from solids or viruses directly in the liquid NASM samples are concentrated by organic-flocculation and assayed by counting plaque forming units (pfu) on Buffalo Green Monkey (BGM) kidney cell cultures or equivalent cell-culture technology.  This procedure may take approximately 16 days.

Sample Preparation:

Solids: Samples are first conditioned using AlCl3 at pH 3.5 (or equivalent) to adsorb viruses to solids fraction and concentrated by centrifugation.  Then viruses are desorbed from solids by physicochemical means and the aqueous fraction (containing the viruses) is clarified by centrifugation followed by serial or stacked membrane filtrations down to 0.2 µm.  Total culturable viruses in the liquid fraction may be further concentrated by organic-flocculation and centrifugation if necessary.

Instrumentation: pH meter, refrigerated centrifuge, stirrer/stir bars, membrane filtration apparatus, BGM (or equivalent) tissue cultures, tissue culture rocker apparatus and incubators with appropriate gas cylinders.

Storage and Handling of samples:  Sample bottles should not exceed 500 mL in size to permit rapid cooling of sample after collection. Samples should be shipped and stored frozen (-18°C) for up to 2 weeks prior to analysis.  After processing, the virus eluate must be stored at 4±3°C and the viral assay must be completed within 24 hrs, or freeze at -70°C.  Once thawed (rapidly at 37°C) keep at 4°C less than 24 hr until viral assay is complete.

Laboratory QC Samples per Run – One method blank and one spiked positive control for every 20 samples, or each week during which samples are analyzed if 20 or fewer samples are analyzed.  Enteroviruses are required for positive controls, for example attenuated Poliovirus or Echovirus. At time of viral assay, at least 10% of the isolates should be confirmed by second passage on tissue cultures.

Method Performance Criteria –

Under development.  Detection limit expected is 1 virus particle per 4-g (dry wt) sample based on work by U.S. EPA (Yanko 1987 US. EPA Report No. EPA/600/1-87/014).  Inter-laboratory precision testing resulted in a total standard deviation for all sludges and all labs for this method of 0.41 (as a log10 value).

Reference methods:

- ASTM (2004) Method D 4994-89. Standard practice for recovery of viruses from wastewater sludges.  Procedure A.  In:  Annual Book of ASTM Standards- Section 11. Water and environmental technology.  West Conshohocken, PA: American Soc. for Testing and Materials.

- USEPA Report No. EPA/625/R-092/013. (Revised July 2003). Environmental Regulations and Technology: Control of pathogens and vector attraction in Sewage Sludge. Appendix H: Method for the recovery and assay of total culturble viruses from sludge. Cincinnati, OH:.

For liquid samples organic-flocculation procedure:

- USEPA Publication No. EPA/600/R-95/178.1996.  Virus monitoring protocol for the ICR (Information Collection Requirements Rule); In “ICR microbial laboratory manual”.  Washington, DC.

4.3.15 Viable Helminth Ova

Matrix:  Sewage biosolids and any other material, other than untreated septage and Category B compost, that contains human body waste

Analysis:

Sewage biosolids and any other material, other than untreated septage, that contains human body waste to be considered of CP1 pathogen reduction quality must be tested.  Such material cannot be deemed a CP1 category material if the level of viable parasitic helminth ova exceeds 1 ovum per 4-g dry weight (wt).  A minimum 4-g sample must be analysed in its entirety to report a non-detect. Category B compost is considered CP1 quality material and additional testing is not required for viable helminth ova.

Principle Method:

Ascaris ova are removed from material by washing, blending, screening and concentrated by settling followed by density gradient centrifugation.  The fraction containing Helminth ova are collected, washed and concentrated by centrifugation, and then incubated 3-4 weeks in dilute H2SO4 (or equivalent) until control samples of Ascaris ova become embryonated (larval stages visible).  Total and viable counts are determined by microscopic counting of total ova and those embryonated (viable) ova.

Sample Preparation:

Samples are diluted in buffered solution followed by further processed by blending in buffered surfactant solution and coarse screening. After screened ova are settled out, they are concentrated by density gradient centrifugation using MgSO4 (or equivalent).  The fraction containing ova is further screened and concentrated by centrifugation. The final samples are incubated 3-4 weeks at 26°C in dilute H2SO4 (or equivalent) until ova become embryonated.

Sample storage and handling:  Sample bottles should not exceed 500 mL in volume to permit rapid cooling of sample after collection.  Samples should be immediately refrigerated and can be stored refrigerated for up to 1 month. Do not freeze as this may interfere with recovery efficiency due to changes in buoyant density.

QA/QC:

One method blank and one spiked positive control for every 20 samples, or each week during which samples are analyzed if 20 or fewer samples are analyzed.

Performance Criteria:

Detection limits are expected to be 1 viable ovum per 4- or 10-g dry wt sample mass based on work by U.S. EPA (Yanko 1987 Report No. EPA/600/1-87/014) and Gantzer et al. (2001 Wat Res 35(16):3763), respectively.

Reference method:

(1) USEPA Report No: EPA/625/R-092/013. (Revised July 2003) Environmental Regulations and Technology: Control of pathogens and vector attraction in Sewage Sludge. Appendix I: Test method for detecting, enumerating and determining the viable of Ascaris ova in sludge. U.S. EPA Office of Research and Development, Cincinnati, OH  P.p. 166-172.

4.3.16	Cryptosporidium Oocysts

Matrix – Non-Agricultural Source Materials that are not sewage biosolids and do not contain human body waste, excluding Category B compost.

Analysis – NASM that are not sewage biosolids and does not contain human body waste that wish to demonstrate CP1 pathogen reduction quality’ are required to be sampled and analysed.  Such material may not be applied to land where levels of Cryptosporidium are detected in a 4-g sample (dry wt) or a 100-mL aqueous sample. Detection limits are expected to be at or better than 25 oocysts per 4-g or 100mL sample. (Rose et al., 2004. Water Environment Research Foundation (WERF), Report No. 00-PUM-2T). A minimum of 100 mL for liquid NASM or 4-g dry wt sample solid sample must be analyzed to report a non-detect.

Method Principle –Cryptosporidium oocysts are concentrated from the sample, purified using immunomagnetic separation or equivalent technology and enumerated either by immunofluorescent and differential interference contrast (DIC) microscopy, quantitative PCR, or technology shown to produce equivalent results.  The specific method protocol must meet the performance criteria described below.  A method may be chosen to simultaneously detect Cryptosporidium and Giardia, provided all performance criteria are met.

Sample Preparation –

Liquid:  A volume of liquid is concentrated by centrifugation or other suitable mechanism.

Solid: A volume of buffered dilution water is added to a weighed amount of NASM.

Cryptosporidium oocysts are purified using immunomagnetic separation or equivalent technology.  Cryptosporidium oocysts are enumerated either by immunofluorescent and differential interference contrast (DIC) microscopy, quantitative PCR, or technology shown to produce equivalent results.

Instrumentation –centrifuges, immunomagnetic separation apparatus, real-time (quantitative) PCR thermocycler and software, or appropriate microscope

Laboratory QC Samples per Run – One method blank and one spiked positive control for every 20 samples, or each week during which samples are analyzed if 20 or fewer samples are analyzed.

Sample Shipping and Storage-

- Samples must be shipped via overnight service on the day they are collected, and shipped and stored and at 4±3 °C without freezing.

- Sample processing must be initiated within 48 hours of sample collection.

- The laboratory must complete purification and detection within one work day to minimize the time that any target organisms present in the sample sit in eluate or concentrated matrix.  Detection must occur within 72 hours of purification.

Method Performance Criteria -  as per US EPA Methods 1622 and 1623

Method acceptance criteria are shown in Table 1.  The initial and ongoing precision and recovery criteria are based on the results of spiked samples.   Analysis of a minimum of 4 samples spiked with 100 to 500 oocysts is required to calculate the initial precision and recovery.

The acceptance criteria for mean recovery is 13 to 143% based on the following equation:

R= 100 x Nsp - Ns

T

Where:		R is the percent recovery

Nsp is the number of oocysts detected in the spiked sample

Ns is the number of oocysts detected in the unspiked sample

T is the true value of the oocysts spiked

The maximum relative standard deviation of at least 5 samples with recovery between 24 and 100 % must be no greater than 55.

The maximum relative percent difference (precision) is 67.  This is calculated according to the following equation:

RPD = 100 x |NMS – NMSD|

Xmean

Where:		RPD is the relative percent difference

NMS is the number of oocysts detected in the matrix spike

NMSD is the number of oocysts detected in the matrix spike duplicate

Xmean is the mean number of oocysts detected in the matrix spike and duplicate

Table 4.3.16: Quality Control Acceptance Criteria for Cryptosporidium (US EPA, 2001)

| Performance Test | Acceptance Criteria |
| --- | --- |
| Initial Precision and Recovery Mean recovery (percent) Precision (as maximum relative standard deviation) | 24-100 55 |
| Ongoing precision and recovery (percent) | 11-100 |
| Matrix spike/ matrix spike duplicate (for method modifications) Mean recovery1 (as percent) Precision (as maximum relative percent difference) | 13-143 67 |

- The acceptance criteria for mean MS/MSD recovery serves as the acceptance criteria for MS recovery during routine use of the method

- Some sample matrices may prevent the acceptance criteria from being met

Reference Method – US EPA Method 1622 or 1623 for water may be modified for use in dilute NASM matrices.   MOE Method E3491 may be used to accommodate the 100 mL or 4-gram sample sizes.  In any case, the method performance criteria must be met for initial precision and recovery.

4.3.17	Giardia cysts

Matrix – Non-Agricultural Source Materials that are not sewage biosolids and do not contain human body waste, excluding Category B compost.

Analysis – NASM that are not sewage biosolids and do not contain human body waste, that wish to demonstrate CP1 pathogen reduction quality, are required to be sampled and analysed.  Such material may not be applied to land where levels of Giardia are detected in a 4-g sample (dry wt) or a 100-mL aqueous sample.  Detection limits are expected to be at or better than 25 cysts per 4-g or 100mL sample. (Rose et al. 2004. WERF Report No. 00-PUM-2T).  A minimum of 100 mL for liquid NASM or 4-g dry wt solid sample must be analyzed to report a non-detect.

Method Principle –Giardia cysts are concentrated from the sample, purified using immunomagnetic separation or equivalent technology and enumerated either by immunofluorescent and differential interference contrast (DIC) microscopy, quantitative PCR, or technology shown to produce equivalent results.  The specific method protocol must meet the performance criteria described below.

Sample Preparation - Liquid:  A volume of liquid is concentrated by centrifugation or other suitable mechanism.  Solid: A volume of buffered dilution water is added to a weighed amount of NASM.  Giardia cysts are purified using immunomagnetic separation or equivalent technology.  Giardia cysts are enumerated either by immunofluorescent and differential interference contrast (DIC) microscopy, quantitative PCR, or technology shown to produce equivalent results.

Instrumentation –centrifuges, immunomagnetic separation apparatus, real-time (quantitative) PCR thermocycler and software, or appropriate microscope

Sample Shipping and Storage-

- Samples must be shipped via overnight service on the day they are collected, and shipped and stored and at 4±3 °C, without freezing.

- Sample processing must be initiated within 48 hours of sample collection.

- The laboratory must complete purification and detection within one work day to minimize the time that any target organisms present in the sample sit in eluate or concentrated matrix.  Detection must occur within 72 hours of purification.

Laboratory QC Samples per Run – One method blank and one spiked positive control for every 20 samples, or each week during which samples are analyzed if 20 or fewer samples are analyzed.

Method Performance Criteria -  as per US EPA Methods 1622 and 1623

Method acceptance criteria are shown in Table 1.  The initial and ongoing precision and recovery criteria are based on the results of spiked samples.   Analysis of a minimum of 4 samples spiked with 100 to 500 cysts are required to calculate the initial precision and recovery.

The acceptance criteria for mean recovery is 13 to 143% based on the following equation:

R= 100 x Nsp - Ns

T

Where:		R is the percent recovery

Nsp is the number of cysts detected in the spiked sample

Ns is the number of cysts detected in the unspiked sample

T is the true value of the cysts spiked

The maximum relative standard deviation of at least 5 samples with recovery between 24 and 100 % must be no greater than 55.

The maximum relative percent difference (precision) is 67.  This is calculated according to the following equation:

RPD = 100 x |NMS – NMSD|

Xmean

Where:		RPD is the relative percent difference

NMS is the number of cysts detected in the matrix spike

NMSD is the number of cysts detected in the matrix spike duplicate

Xmean is the mean number of cysts detected in the matrix spike and duplicate

Table 4.3.17: Quality Control Acceptance Criteria for Giardia (US EPA, 2001)

| Performance Test | Acceptance Criteria |
| --- | --- |
| Initial Precision and Recovery Mean recovery (percent) Precision (as maximum relative standard deviation) | 24-100 49 |
| Ongoing precision and recovery (percent) | 14-100 |
| Matrix spike/ matrix spike duplicate (for method modifications) Mean recovery1 (as percent) Precision (as maximum relative percent difference) | 15-118 30 |

- The acceptance criteria for mean MS/MSD recovery serves as the acceptance criteria for MS recovery during routine use of the method

- Some sample matrices may prevent the acceptance criteria from being met

Reference Method – US EPA Method 1622 or 1623 for water may be modified for use in dilute NASM matrices.   MOE Method E3491 may be used to accommodate the the 100 mL and/or  4-gram samples.  In any case, the method performance criteria must be met for initial precision and recovery.

5.0 ACRONYMS

AAS		Atomic Absorption Spectrophotometry

CRM 		Certified Reference Material

CV-AAS	Cold Vapour - Atomic Absorption Spectrophotometry

DCP 		Direct Current Plasma

US-EPA	Environmental Protection Agency (U.S.A.)

GPS		Global Positioning System

HYD-FAAS	Hydride Flameless - Atomic Absorption Spectrophotometry

ICP		Inductively Coupled Plasma Spectroscopy

ICP/AES	Inductively Coupled Plasma Spectroscopy - Atomic Emission Spectroscopy

ICP/MS	Inductively Coupled Plasma Spectroscopy - Mass Spectrometry

ICP/OES	Inductively Coupled Plasma Spectroscopy - Optical Emission Spectroscopy

MOE/LaSB	Ministry of the Environment (Ontario), Laboratory Services Branch

MPN		Most Probable Number

NIST		National Institute of Standards and Technology (Gaitersburg, MD U.S.A.)

6.0 GLOSSARY

Ammonium Nitrogen: Means ammonia nitrogen plus ammonium nitrogen.

Analytical Run:  A group of samples processed together through each step of an analytical procedure.

Analytical Standard:A series of chemical standards of the target analytes, used to set the relationship between instrument response and concentration

Blank, Method Blank: Pure Water or other type of blank (i.e., acid or solvent) used to monitor for contaminated reagents, glassware and method processes.

Certified reference material (CRM) - reference material, accompanied by documentation issued by an authoritative body and providing one or more specified property values with associated uncertainties and traceability, using valid procedures.

Composite Sample: A sample that is made up of a number of sub-samples that have been thoroughly mixed together.

Duplicate Sample: One of two samples collected at a sampling point at the same time in a manner that minimizes differences between the samples.

Geo-Reference: A specific set of coordinates within a numeric system of grid references (e.g., latitude/longitude or UTM (Universal Transverse Mercator)) used to precisely identify a geographic location.

Global Positioning System: Method of determining geo-reference using a GPS receiver.

Grab Sample: A single sample taken directly from the material being sampled, sub sample or a portion of a composite sample.

Internal Standard: A compound, representative of the compound(s) of interest and not expected to be found in the matrix, spiked into every sample extract and solution analyzed. It monitors losses/gains due to the analytical procedure. Data may or may not be corrected based on the calculated recovery.

Matrix: Any type of material, e.g., soil, manure, sewage sludge.

Matrix Check Material: Matrix check materials are, typically, natural materials subjected to method processes in order to monitor method recovery. They are often in-house sample composites that have an established value and characteristics

NMAN: A computer program of that name prepared by OMAFRA for the purpose of preparing nutrient management plans, as well as the workbook that can be used to prepare plans manually.

Nitrate Nitrogen: Means nitrate nitrogen plus nitrite nitrogen.

Nutrient: means fertilizers, organic materials, biosolids, compost, manure, septage, pulp and paper sludge and other material applied to land for the purpose of improving the growing of agricultural crops or for the purpose of improving the growing of agricultural crops or for the purpose of a prescribed use, but does not include any material that the regulations specify does not come within the definition of “nutrient”

Nutrient Management Plan: A plan for the application of materials containing nutrients to land in such a way that agronomic requirements of crops are met, and environmental impacts are minimized.

Nutrient Unit: The amount of nutrients that give the fertilizer replacement value of the lower of 43 kilograms of nitrogen or 55 kilograms of phosphate as nutrient as established by reference to the Nutrient Management Protocol.

Quality Management System: A set of interrelated elements (e.g., policies and objectives) that direct and control the way a facility operates with regard to quality.

Reference material (RM) - material, sufficiently homogeneous and stable with reference to specified properties, which has been established to be fit for its intended use in measurement or in examination of nominal properties

Replicate Analyses: Natural samples may be split in the laboratory and analyzed together in the same run. Replicates are taken through the entire method process. This data can be used to assess the within-run precision of the analysis or sample matrix homogeneity.

Replicate Sample: An additional or second aliquot (portion) of a randomly selected sample in the analytical run.

Representative Sample: A sample of material that has been taken so that it has essentially the same composition and characteristics of the source material.

Spiked Samples: Analyte(s) of interest is spiked into the sample matrix in order to monitor recovery from the sample matrix using the method or parts of the method.

Spiked Water/Solvent: Analyte(s) of interest is spiked into reagent water/solvent to monitor recovery because of changes in the method or parts of the method.

Standard Additions: The addition of known quantities of the analyte of interest to one or more split portions of a single sample can be used to determine the presence and possible effect of interference by various matrix constituents on the analytical method.

Sub-sample: A single sample taken directly from the material being sampled or a portion of a composite sample.

In this protocol the terms “arithmetic mean” and “arithmetic average” are the same and are determined where the concentrations of each of the analytical results in the previous four samples are added together and the resulting total is divided by four