Builder Bulletin 51

Residential Condominium Conversion Projects

Background

Introduction

The Ontario New Home Warranties Plan Act (the “ONHWP Act”) was created to provide deemed statutory warranties for new homes but was amended in 2016 to extend warranty protection to purchasers of converted condominium units in a fashion generally comparable to the protection available to newly constructed condominium projects.

Briefly, some important things to note about residential condominium conversion projects are:

- all residential condominium conversion projects (“RCCPs”) must be vetted by Tarion when vendors and builders apply for registration in respect of the project (which must be before any sales or before breaking ground);

- RCCPs require that additional documents and materials be submitted to Tarion as outlined in this bulletin;

- only non-residential conversion to residential will qualify for warranty protection; and

- the statutory warranties will apply to RCCPs except that the first-year warranty relating to workmanship and materials does not apply to pre-existing elements.

Changes to Definition of “Vendor” and “Builder”

To extend statutory warranty eligibility to RCCPs, the definitions of both “builder” and “vendor” in the ONHWP Act have been amended to include builders and vendors of RCCPs.

Non-Residential to Residential

The deemed statutory warranties will extend only to conversions from non-residential uses (e.g., office, hotel, commercial, institutional).  Former uses such as boarding house, dormitory, group home, convent, monastery, rectory, retirement home, rooming home and prison, will be eligible.  Conversion of a rental residential building(s) will not be eligible.

Application – Transition Rules

These new rules with respect to condominium conversions will apply to any such projects where the first arm’s length agreement of purchase and sale for a home in the project is signed on or after January 1, 2018.

Condominium Conversion Projects vetted by Tarion

To ensure the RCCPs to be covered by the ONHWP Act cannot go forward without the vendor, builder and the project first being vetted by Tarion, statutory restrictions have been created.

First, the Building Code Act was amended to pick up the new definitions of “vendor” and “builder” so that effectively a building permit will not be issued for RCCPs unless the vendor and builder are registered with Tarion.

Secondly, the Condominium Act now states that an RCCP will not be accepted for registration as a condominium corporation unless Tarion has confirmed that:

- the project and units have been enrolled under the ONHWP Act;

- the vendor has been registered by Tarion; and

- the builder has been registered by Tarion.

Coverage for Residential Condominium Conversion Projects – Pre-Existing Elements

A structure converted to residential use and organized as a condominium, will involve a mix of pre-existing and new elements.  As a result, the statutory warranty coverage available covers new elements in a manner identical to that of a comparable newly constructed condominium.  However, given that pre-existing elements by their nature cannot be expected to have the same look, feel and perform as new elements, the first-year warranty coverage in respect of workmanship and materials does not apply to pre-existing elements (although OBC and fit for habitation warranties do apply).

“Pre-existing Element” means generally, a physical portion of a property that:

- will be incorporated into an RCCP or a phase of an RCCP;

- existed before the “Commencement Date” of the project or phase; and

- was not used for residential purposes.

The commencement date for construction (the “Commencement Date”), is deemed to begin on the earlier of:

- the date when excavation for the RCCP or phase of an RCCP begins; and

- the date when other physical preparatory or related work for the foundation begins,

except if the foundation is partly or wholly a pre-existing element, in which case it is the date when any other physical work an RCCP commences.

For greater certainty, exploratory testing or demolition of existing structures is not work which will trigger the Commencement Date.

Registration of Vendors and Builders

A proposed vendor and/or builder must apply for registration by Tarion in the usual course with all the usual and project specific terms and conditions.

In addition to the usual requirements for registration, a proponent of an RCCP must provide to Tarion at the time of application for registration as a vendor and/or builder the following:

- Property Assessment Report

- Capital Replacement Plan

- Pre-existing Elements Fund Study

These materials must be provided:

- before any sales of units; and

- before the Commencement Date.

Disclosure

For RCCPs, the Condominium Act has also been amended to add additional disclosure for purchasers of conversion condominium units including, for example:

- A statement that the project is a “residential condominium conversion project”;

- Information about the Pre-existing Elements;

- A copy of the Pre-existing Elements Fund Study; and

- A statement that the workmanship and materials first year warranties do not apply to the pre-existing elements.

What the Balance of this Bulletin is About

This bulletin sets out the reporting requirements related to a proposed RCCP including the following:

- Describes the approval process that Tarion will use to determine if an RCCP is eligible for enrollment and the vendor and builder are eligible for registration.

- Defines the scope of work for the Property Assessment Report, Capital Replacement Plan and Pre-existing Elements Fund Study which must all be submitted to Tarion for approval of the RCCP.

- Describes the use of the Pre-existing Elements Fund and how it relates to warranty coverage.

- Outlines updating processes in the event of changes to the Pre-existing Elements or the anticipated registration date (of the condominium corporation) during the development process.

# The Approval Process

A residential condominium conversion project (“RCCP” - including units, proposed units, and the common elements) will not be enrolled with Tarion nor will the proposed vendor or builder be registered with Tarion unless and until:

a)	The applicant has submitted the following reports and they have been approved in writing by Tarion:

##### Property Assessment Report

##### Capital Replacement Plan

##### Pre-existing Elements Fund Study

#### The applicant has provided evidence satisfactory to Tarion that:

##### The applicant has complied with regulatory requirements and those imposed by Tarion;

##### The Pre-existing Elements Fund has been established; and

##### The applicant has deposited the required amount into the Pre-existing Elements Fund (or, if Tarion provides written permission to do so, has provided evidence that the required funds will be deposited into the fund on or before the registration date).

Tarion will review the submissions and either provide approval of the RCCP, come back to the applicant with, for example, conditions that must be met for the RCCP to be approved, or reasons for refusal of the RCCP for enrollment.  As a customer service standard, Tarion will use reasonable efforts to respond within 90 days of submission of all documents. The applicant must provide Tarion with access to the property during the 90-day period if requested.

If Tarion finds that the reports provided by the applicant are inadequate, Tarion may engage another consultant to peer review the reports, at the applicant’s cost.

The enrollment fee for an RCCP will be as set out in the regulations.

Proof of Submission and Delivery

Tarion’s Licencing and Underwriting Group will be the point of contact for the RCCP approval process.

If there is a dispute concerning delivery, it is the applicant’s responsibility to establish when delivery occurred. To avoid confusion, applicants are encouraged to use methods of delivery (such as registered mail or courier) that will easily provide proof of delivery.  Any non-electronic notices or communications with Tarion’s Licensing and Underwriting Group can be addressed to:

Tarion Warranty Corporation: Licensing and Underwriting Group
5160 Yonge Street, 12th Floor
Toronto, Ontario M2N 6L9

Reports can also be submitted electronically at XXXXX

# Overview of the Three Reports

The following graphic shows the relationship between the three reports that shall be submitted for an RCCP.

The content of each report is described in more detail in the following sections of this bulletin.

The legislation anticipates three separate reports. An applicant may include the Property Assessment Report and Capital Replacement Plan as a single integrated report, if desired.

The Pre-existing Elements Fund Study shall be kept as a stand-alone report as it is part of the disclosure package required to be given to prospective purchasers of homes in the RCCP.

# Property Assessment Report

The Property Assessment Report is a high-level report that focuses on the property including building or buildings to be converted. The purpose of this report is to assess the nature and condition of the property generally.  The Property Assessment Report is to be based on document review, personnel interviews and visual review (of representative samples of all aspects of the property) and shall include the following content:

- General Description of the Property

- General Condition of the Property

- Planned Conversion

- Scope of Work and Methodology

- A copy of the consultant’s Certificate of Authorization or Certificate of Practice

General Description of the Property

The report shall include the following information about the existing building(s) to be retained and converted:

- Year the building was originally constructed and years when additions were constructed or major renovations completed.

- Prior usage/occupancies

- Number of floors above and below grade

- Gross floor area above and below grade, area of a typical floor (if applicable)

- Description of any unique aspects of the building related to its history

This section of the report must include photographs showing the main building elevations and an overview of the site to give the reader general context.

General Condition of the Property

The report shall describe the condition of the current property. Is it currently unoccupied, or is it in service? Does it appear that the building has been generally well maintained in the past? Are there any portions of the building that currently represent a significant risk of imminent structural failure? Are there any serious health or safety risks apparent? Is the heating system operating or has the building been unheated for some time? Are elevators operational?

Planned Conversion

The report shall include an overview of the intended conversion, describing in general or “overview” terms which elements will be removed, which will be retained and what other additions, alterations or extensions will be made.

The report shall describe any circumstances where the use of a Pre-existing Element will change. For example, if a concrete slab was previously used for office space and in the converted building will be used as a parking level, this must be identified. Similarly, if a portion of a previously enclosed office slab will be exposed on a balcony, this must be identified.

Scope of Work and Methodology

The scope of work and methodology section of the report should include information about the consultant’s engagement including the applicant’s name; the consultant team names including the field observers, the testing agents, any sub-consultants, the primary consultant responsible for the report and the report reviewer; the dates of the site visits; the purpose of the report; and any constraints that limited the consultant’s ability to fulfill the mandate required by this bulletin.

The report must include a statement giving reliance on the report to Tarion, the project Field Review Consultant (FRC) (see Builder Bulletin 19R – Condominium Projects Design and Field Review Reporting), the vendor and the builder.

The report must also include the following statement:

“The opinions in this report are those of the consultant team. These opinions were not influenced in form or content by pressure from the applicant or anyone representing the applicant. The consultant team acknowledges that their duty in preparing the report is to Tarion, and ultimately to provide consumer protection to the purchasers of homes in the condominium project.”

# Capital Replacement Plan

The Capital Replacement Plan complements and extends the content in the Property Assessment Report. Where the Property Assessment Report focuses on the property and building(s) overall, the Capital Replacement Plan focusses on the condition of the Pre-existing Elements, the challenges of mixing new and existing physical elements and systems and anticipated repairs, modifications and/or replacements related to the Pre-existing Elements. The Capital Replacement Plan shall contain the following content:

- Description of Pre-existing Elements

- Findings of required and optional testing

- Discussion of the condition of the Pre-existing Elements

- Identification of Key Risks including challenges of mixing new and existing physical elements and systems

- Heritage Impacts

- Building Code compliance

- Applicable Law Compliance

- Statement of Structural Adequacy

- A schedule outlining the repairs and/or replacements that can reasonably be expected for the Pre-existing Elements of the project as required by any Reserve Fund Study

- A schedule of the Expected Work required in the Initial Period

The report shall set out the usual requirements for a Reserve Funds Study as required by the Condominium Act.

The report shall also separately identify the elements that are Pre-existing Elements.  (see p. ●)

Description of Pre-existing Elements

For each anticipated Pre-existing Element (the physical portions or components of a property that will be retained and re-used in the proposed RCCP), the report must include a clear description of the element based on a visual review of a representative sample of the element. Appendix A includes a table listing the type of descriptive information that is needed for standard elements. A similar level of detail is expected for unique Pre-existing Elements that are not listed in the appendix. The intent is to provide the reader with a clear understanding of the nature and extent of the Pre-existing Elements.

The report must include photographs of representative samples of each form of Pre-existing Elements.

Note: these detailed descriptions are NOT required for elements that will not be retained in the new condominium project.

Findings of Required and Optional Testing

Where there is a material risk of warranty claims relating to a Pre-existing Element, testing is required to help quantify the risk, to permit Tarion to decide if the Pre-existing Element is appropriate for retention given the risk of related warranty claims, and to help the consultant predict future repair, modification and/or replacement needs.

Appendix B to this bulletin identifies testing requirements for defined risks.  It sets out the required sample size for the visual review for certain components. Where no indication is provided for sample size for the visual review, the consultant shall review a reasonable sample size such that the consultant is reasonably confident that the conditions seen are representative of the whole.

Note: this testing is NOT required for elements that will not be retained in the new condominium project.

Tarion may require additional testing of components not listed in the table in Appendix B.

If the consultant or a specialty sub-consultant requires additional testing beyond that prescribed by this bulletin or by Tarion to be able to opine on the forecasted cost of anticipated repairs, modifications and/or replacements related to the Pre-existing Elements, then this testing must be reported at the same level of detail as the required testing.

This testing extends the scope of the Capital Replacement Plan beyond the traditional walk-through survey level of review (as anticipated by standards like ASTM E 2018 – “Standard Guide for Property Condition Assessments: Baseline Property Condition Assessment Process”) to also include a reasonable sampling of concealed components.

The applicant may elect to complete additional optional testing that is seen to be needed to quantify risk related to purchasing and converting the property. This elective testing should also be described in the report.

The report must include photographs to illustrate key findings of the required testing where possible.

The report must include a statement confirming that the findings of the required testing and the state of deterioration of the Pre-existing Elements have been considered in developing the forecasted expenditures.

Identification of Key Risks

The report must indicate the presence of the following risks if they are intended to form part of the Pre-existing Elements. Where possible, components involving these risks should be removed during the conversion. Where they must be incorporated as Pre-existing Elements, mitigation of these risks should be considered in determining which repairs, modifications and/or replacements will be completed prior to registration and which repairs, modifications and/or replacements related to Pre-existing Elements are anticipated during the Initial Period. Presence of these risks may impact the performance security which may be required by Tarion as part of the underwriting process for vendor and builder registration.

- Post-tensioned structural elements which are more prone to corrosion-related rapid failures than conventionally reinforced structures, especially older stuffed and paper-wrapped systems.

- Autoclaved concrete structural elements or back-up walls which are prone to deterioration if exposed to moisture

- Cold form steel joists with closed top chords which can trap moisture and corrode without damage being evident from below

- Stay-in-place formwork, such as insulated concrete formwork, which can be prone to poor rebar and concrete placement because it cannot be easily inspected (rebar placement cannot be easily seen once the forms have been assembled, concrete could have areas of ice, debris or poor consolidation which cannot be seen)

- Header brick masonry that is stacked over many storeys without horizontal control joints. Shrinkage of the concrete frame and expansion of the brick can result in overloading of the brick with resultant sheared header bricks and buckling of brick panels.

- Phenolic foam roof insulation on a steel deck because phenolic foam exposed to water is acidic and can corrode the deck

- Flat roofs with parapets and no scupper drains, which are at risk of flooding if drains become blocked

- Flat roofs supporting parking over finished interior space which are risky because the structure is concealed from review

- Roof overlay over an older roof

- Roof was totally snow-covered during preparation of reports

- Asphalt and other site features were totally snow-covered during preparation of reports

- Lead piping in the incoming water service

- Galvanized piping in the incoming water service. Galvanized piping is prone to interior corrosion and blockage.

- Galvanized domestic water distribution piping

- PEX piping with aluminum core aka “Kitec” piping (also sold as PlumbBetter, AQUA, Warmrite, AmbioComfort, XPA, Kerr Controls; typically installed between 1995 and 2008)

- Hazardous materials

- Building at risk of radon contamination (e.g., located in a designated area per 3.1.1.2 of the OBC)

- Unguarded equipment that represents a risk of pinching or entrapment

- Unprotected roof edges or skylights within 2m of equipment that requires maintenance. Guards are required at roof edges, or if the skylight cannot withstand the required loading.

- Buried tanks; condition of above ground tanks

- Expanding or shrinking soils, poorly consolidated soils under building or site, poor site drainage

- Other vulnerable materials (in the consultant’s judgement)

- Challenges related to integrating the pre-existing elements with the new elements.

Heritage Impacts

The report shall include a description of any heritage listings or designations applicable to the building. As applicable, the report shall provide attachments (or links) to publications which define the heritage obligations of the property owner.  The report can append letters or reports from a subcontractor for this portion of the requirement.

The report shall provide a detailed discussion of how this designation impacts the Pre-existing Elements, confirmation that a heritage consultant is on the project team and acknowledgement that the heritage designation has been considered in preparing the schedule of anticipated repairs, modifications and/or replacements.

Schedule of Repairs and Replacements

The report shall set out in a tabular schedule, the forecasted repairs and replacements of the Pre-existing Elements. The timeframe of this schedule shall start in the year of anticipated registration of the condominium and shall align with the timeframe, threshold and other scope requirements of the Condominium Act for a Reserve Fund Study completed under section 94 of that Act, excluding the requirement for a cash flow analysis.

The schedule of repairs and replacements must be developed, taking into consideration the visual condition, the state of obsolescence, the findings of the required testing and requirements of other noteworthy applicable laws (per the Applicable Laws section of the Capital Replacement Plan).

Rather than itemize the future expenditures in each individual future year (which would be challenging to print), it is acceptable to include columns indicating the Present Cost, Year of First Occurrence, Years between Occurrences and any limiting conditions on the number of occurrences and then roll up the total expenditures in five or ten year bands in all but the first ten years. An example of the limiting condition on the number of occurrences: you might plan to reline a concrete hot water storage tank twice more and then budget for the tank’s replacement. If the relining is needed in 2023, then every ten years, the project would have a Year of First Occurrence of 2023, a Years between Occurrences of 10 years and a limiting condition that it only happens twice and then stops (see example in Appendix C). For a project like reroofing, the Years between Occurrences would be equal to the Normal Service Life of the roof. However, for some other projects, like caulking window perimeters, the caulking may only have a 20-year Normal Service Life, but the Time between Occurrences might be 40 years because Window Replacement is scheduled 20 years after recaulking (see Appendix C).

All expenditure forecasts must be “all-in” costs, meaning that, in addition to construction costs they must also include mobilization, demobilization, permit, bonding, access and “all-other-items” costs related to the project, as well as a reasonable construction contingency, allowance for engineering or other oversight of the project (where applicable – generally engineering oversight is needed for projects where a building permit is required, but engineering is also generally required for complex projects not involving a permit, such as re-roofing; another example would be the fees by an interior designer to design and oversee a major refurbishment project) and applicable taxes. Expenditure forecasts must take into consideration the fact that the work will be done in an occupied building with related requirements to manage phasing and related challenges (such as relocating cars to permit garage repairs).

The cost information used by the consultant should be based on the consultant’s own cost database from similar projects, historical costs to be provided by the owner applicant, commercially available third party cost data, third-party data such as from contractors or suppliers, and/or other qualified sources that the consultant deems appropriate.

Expenditure forecasts must be estimated in current day dollars and can be reported in the Capital Replacement Plan Schedule in current day dollars.

For repairs, modifications and/or replacements impacted by a heritage designation or listing, the expenditure forecasts shall incorporate additional budget allowances or any additional heritage requirements. For example, if a façade is designated and the windows are anticipated to be replaced, replacement windows will need to match existing materials and configuration rather than lower cost windows of different material and configuration, or may need to be repaired rather than replaced, at significantly higher cost. These heritage requirements should be considered when planning the repairs, modifications and/or replacements that will be completed prior to registration and the repairs, modifications and/or replacements anticipated within the Initial Period and the subsequent 40 years.

For repairs, modifications and/or replacements impacted by a hazardous material (e.g. lead in mortar, asbestos etc.), the expenditure forecasts shall incorporate additional budget allowances that will be required to deal with the hazardous materials.

All conditions that represent a health or safety risk or risk of imminent structural failure must be repaired as soon as possible by the applicant and in all cases prior to registration of the RCCP.

A registered RCCP should not incorporate any Pre-existing Elements that are obsolete (meaning, for example, that the equipment is no longer supported by the manufacturer and/or suitable technicians are no longer available) unless replacement of the elements is planned in the repairs, modifications and/or replacements schedule (Schedule ●).

The applicant is encouraged and may be required to avoid conflict with the future condominium corporation by bringing the building(s) into compliance prior to registration.

Expected Work Schedule

A critical additional schedule is the schedule which outlines a subset of the work identified in the Schedule of Repairs and Replacements – namely, the “Expected Work Schedule.”

“Expected Work” means a repair, modification and/or replacement which is not usual and ordinary maintenance and the cost of such work exceeds $2,000, but is a repair, modification and/or replacement to a Pre-existing Element which is expected to occur during the Initial Period [7 years] following registration of the Condominium Corporation because the Remaining Service Life of the Pre-existing Element, or the end of a subsequent Normal Service Life is expected to be reached within the time period.

The Expected Work Schedule must be developed, taking into consideration the visual condition, the state of obsolescence, the findings of the required testing, the state of fitness for habitation, and a comparison against the requirements of OBC (per the OBC Compliance section of the Capital Replacement Plan) and requirements of other noteworthy applicable laws (per the Applicable Laws section of the Capital Replacement Plan).

Statement of Structural Adequacy

If practical, the report may contain certification by a practitioner under the Professional Engineers Act that any pre-existing structural elements can support the loads as will be required by code for the RCCP, or that structural modification will be completed to ensure that the structural elements can support the intended loads. This statement should extend to cover structural components beyond the basic frame of the structure, including load-bearing masonry, parapets, guards and structural site components such as retaining walls.

Post-tensioned concrete structures are seen to be a particularly high risk with respect to Major Structural Defect claims, so the report must clearly identify if the structural frame incorporates post-tensioned elements or state that it does not, to the best of the consultant’s knowledge. Where no information is available and post-tensioning is a risk, destructive testing may be needed to confirm. Vague opinions indicating that the presence of post-tensioning is unknown will not be sufficient.

These issues will also be addressed in the Builder Bulletin 19 process in due course.

Building Code Compliance

If practical, the report may set out reasonable details of the path to OBC compliance for the converted building(s) and for the Pre-existing Elements individually.

If Part 10 of the OBC applies, the report should indicate where compliance with other parts of the OBC is required, and indicate which parts impact the Pre-existing Elements. The report must show how the building performance level will not be reduced. Any compliance alternatives being applied must be identified.

If Part 11 applies, the report is to indicate where compliance with other parts of the OBC is required (per subsection 11.3 of the OBC), where the performance level is reducing and being compensated for via compensating construction (per subsection 11.4 of the OBC), where a compliance alternative is being used (per subsection 11.5 of the OBC) and where a compliance alternative is being used (to conform with any Part of the OBC in lieu of the prescriptive requirements).  Details of the methods of compliance must be provided. The report must also indicate which Pre-existing Elements, by virtue perhaps of not being modified or otherwise not requiring modification under Part 11 of the OBC, will not be required to be brought into compliance with the current OBC.

Clarity around OBC compliance will be critical to interpreting warranty coverage during the claims and resolution period, so this portion of the report must be sufficiently detailed to permit Tarion to understand how the builder intends to achieve OBC compliance.

These issues will also be addressed in the Builder Bulletin 19 process in due course.

Applicable Law Compliance

If practical, the report may set out reasonable details of the path to compliance for the property, converted building(s) and for the Pre-existing Elements individually for any other noteworthy applicable laws including zoning, development regulations, property standards and maintenance, mandatory CSA requirements, TSSA and Ministry of Labour requirements.

These issues will also be addressed in the Builder Bulletin 19 process in due course.

Scope of Work and Methodology

The scope of work and methodology section of the report shall include information about the consultant’s engagement including: the builder name; the consultant team names including the field observers; the testing agents; any sub-consultants; the primary consultant responsible for the report and the report reviewer; the dates of the site visits; the purpose of the report; and any constraints that limited the consultant’s ability to fulfill the mandate required by this bulletin.

The Capital Replacement Plan shall include a statement giving reliance on the report to Tarion, the project FRC (see Builder Bulletin 19R – Condominium Projects Design and Field Review Reporting), the vendor and the builder.

The report shall also include the following statement:

“The opinions in this report are those of the consultant team. These opinions were not influenced in form or content by pressure from the applicant or its representatives. The consultant team acknowledges that their duty in preparing the report is to Tarion, and ultimately to provide consumer protection to the purchasers of homes in the Condominium Project.”

# Pre-existing Elements Fund Study

The Pre-existing Elements Fund Study is a report that uses the expenditures predicted in the Capital Replacement Plan to determine the required builder contribution to the Pre-existing Elements Fund and to disclose information about the pre-existing elements to the condominium unit purchasers. As this study is disclosed to purchasers and potential purchasers of units in the RCCP, it is also a critical communication document, describing the Pre-existing Elements in the RCCP in a manner that lay-people can understand.

The report shall contain the following information:

- A plain English overview of the conversion. This content can be copied from the summary provided in the Property Assessment Report.

- A list of all the Pre-existing Elements including their history and timing of the next anticipated major repairs, modifications and/or replacements

- A description of repairs, modifications and/or replacement projects related to the Pre-existing Elements that will be undertaken by the applicant prior to registration

- A schedule of repairs, modifications and/or replacements forecasted for the 45 year period following the anticipated registration date of the RCCP (this schedule must align with the schedule in the Capital Replacement Plan)

- The Expected Work Schedule

- A description of each expenditure item in the Expected Work Schedule to clarify what is intended to be covered by the budget provided.

- A determination of the amount to be contributed to the Pre-existing Elements Fund by the applicant

- A copy of the consultant’s Certificate of Authorization or Certificate of Practice

Tarion recognizes that the Pre-existing Elements Fund Study contains duplication of some content already covered in the Property Assessment Report and the Capital Replacement Plan. The reason for the repetition is that the Pre-existing Elements Fund Study forms part of the Disclosure Statement per subsection 72(3) of the Condominium Act, so it will be issued to purchasers and potential purchasers but the Property Assessment Report and the Capital Replacement Plan will not be. It is also issued to the condominium corporation as part of the turn-over documentation per subsection 43(5)(l) of the Condominium Act.

Planned Conversion

The report shall contain a general description of the building(s).

The report shall contain a plain-English overview description of the RCCP, giving high level information about which elements will be retained and which will be removed as part of the condominium development project. Significant alterations, additions and extensions must be described in reasonable detail using plain language. This is intended to give a lay-person a general understanding of what makes this RCCP different from buying into a new condominium development.

This content may be copied directly from the Property Assessment Report.

Pre-existing Element List

The report shall set out known information about when each Pre-existing Element was originally installed and what repairs, modifications and/or replacements have been undertaken in the Pre-existing Element; and have been completed to date. A solid attempt must be made to determine the age of the Pre-existing Elements including contacting manufacturers with serial numbers. Where this history cannot be determined via date stamps, reports or other conclusive evidence, the report author must use his/her best judgement to opine on the likely age of the element and any prior repairs, modifications and/or replacements that are visually evident.

Repair of Pre-existing Elements Prior to Registration

The report shall describe the repairs, modifications and/or replacements to the Pre-existing Elements that will be undertaken before the condominium corporation is registered.  This description has several purposes:

- Provides information to prospective purchasers about what to expect.

- Provides information to the Field Review Consultant regarding the scope of repair projects prior to registration.

- Provides information to the builder’s Reserve Fund Study provider so they can reflect work related to the Pre-existing Elements when advising the Applicant on appropriate annual reserve fund contributions for the RCCP.

- Provides information to the condominium corporation’s Reserve Fund Study provider so they know what work was done and when. For example, if a major repair to a parking slab is completed by the applicant, including installation of a new waterproofing membrane, this information will also be important to the development of the condominium corporation’s Reserve Fund Study.

No budgets for repairs, modifications and/or replacements undertaken prior to registration are required to be included in the Pre-existing Elements Fund Study, but these can optionally be provided by the vendor, if desired, to help communicate such information to prospective purchasers, the condominium corporation, the FRC and the Reserve Fund Study provider.

Expected Work during Initial Period

The report shall describe the nature of each anticipated Expected Work within the Initial Period in sufficient detail so that readers of the report can understand what is covered and what is not.  It will differentiate between common elements and work needed for residential work.  For example, the discussion must differentiate if the planned Expected Work relates to complete replacement of an element (e.g. full replacement of a roof), or a localized repair (e.g. replacement of the roof flashings along the north elevation of the building).  Separate line items should be used for different types of works.  With each such Expected Work line item a bona fide estimate of the cost of such work must be listed.  The report should also discuss assumptions made that might have a significant impact on the budget (e.g. is the budget based on the project being completed in one phase or multiple phases, is the budget based on mid-efficiency or high-efficiency equipment, etc.). This clarity is important to helping evaluate if related funds in the Pre-existing Elements Fund is to be used within the warranty period or not, so it is to the applicant’s benefit to ensure that expenditures are well defined.

Schedule of Repairs and Replacements

The schedule of repairs and replacements developed for the Capital Replacement Plan shall be replicated in the preliminary Pre-existing Elements Fund Study.

Expected Work Schedule

The Expected Work Schedule developed for the Capital Replacement Plan shall be replicated in the preliminary Pre-existing Elements Fund Study.

Applicant’s Contribution to the Pre-existing Elements Fund

The applicant shall contribute an amount to the Pre-existing Elements Fund equal to the value of “Expected Work” shown in the Expected Work Schedule within the Initial Period.

Scope of Work and Methodology

The scope of work and methodology section of the report should include information about the consultant’s engagement including the applicant’s name; the consultant team names including the field observers, the testing agents, any sub-consultants, the primary consultant responsible for the report and the report reviewer; the dates of the site visits; the purpose of the report; and any constraints that limited the consultant’s ability to fulfill the mandate required by this bulletin.

All reports shall indicate the names and qualifications of the field observers, the testing agents, and the report reviewer.

The Pre-existing Elements Fund Study shall include a statement giving reliance on the report to Tarion, the project FRC (see Builder Bulletin 19R – Condominium Projects Design and Field Review Reporting), the vendor, the builder, the future condominium corporation, the future condominium corporation’s future reserve fund study provider and the purchasers of homes in the RCCP.

The report must also include the following statement:

“The opinions in this report are those of the consultant team. These opinions were not influenced in form or content by pressure from the builder or vendor. The consultant team acknowledges that their duty in preparing the report is to Tarion, and ultimately to provide consumer protection to the purchasers of the Condominium.”

# Updates to the Pre-existing Elements Fund Study

The applicant shall update the Pre-existing Elements Fund Study annually, up to the date of completion of the RCCP, to reflect material changes in the information contained in the original report. Examples of changes include:

- construction delays that shift the date of registration

- the decisions about the Pre-existing Elements change materially (for example, a material element that was going to be retained is removed, or if a material element that was going to be removed is retained)

- the repair, modification and/or replacement of one or more Pre-existing Elements being completed prior to registration changes materially.

- These updates may result in changes to the Expected Work Schedule, and may impact the amount of money required to be contributed to the Pre-existing Elements Fund. Updates to the Pre-existing Elements Fund Study may also constitute material changes to the Disclosure Statement under the Condominium Act.

The Registrar shall use reasonable efforts to review an updated report referred to in subsection (4) within thirty (30) days after receipt.  If the report is satisfactory to the Registrar and if the report:

(a)	indicates the amount of the pre-existing elements fund should be increased then the applicant shall within thirty (30) days of the written request from the Registrar increase the amount of the pre-existing elements fund by the amount specified in the updated report; or

(b)	indicates that the amount of the pre-existing elements fund can be reduced then the Registrar may by written notice to the prescribed trustee, authorize reduction of the pre-existing elements fund by the applicable amount and by payment of such sum to the applicant.

# Who may complete the reports?

The following classes are prescribed as persons who may conduct a Property Assessment Report, Capital Replacement Plan or Pre-existing Elements Fund Study:

- Persons who hold a Certificate of Practice within the meaning of the Architects Act.

- Persons who hold a Certificate of Authorization within the meaning of the Professional Engineers Act.

The primary consultant can engage and oversee specialty sub-consultants such as a design structural engineer, a code consultant, an architect, a cost consultant, or others as needed to fulfill the scope of the three reports required for the RCCP. The primary consultant is responsible for assembling a team that is knowledgeable of the statutes, regulations, codes, and technical standards applicable to the scope. The consultants are required to perform the required assessments and prepare the required reports without any bias to a party. In all cases, the specialty sub-consultants must be engaged by the primary consultant so that a single integrated report is provided for each of the Property Assessment Report, the Capital Replacement Plan and the Pre-existing Elements Fund Study. Continuity of the team between the three reports is required, except in exceptional circumstances, which must be approved in advance by Tarion.

All involved consultants must be at arm’s length from the applicant, vendor and builder as well as the prior owner of the building (where the applicant or vendor is acquiring the site) and must not have a financial interest in the RCCP except related to their engagement as a consultant. The consultant who prepares these reports may also prepare the Builder Bulletin 19R reporting for the project if they are a qualified FRC.

The consultant team shall be insured under a policy of liability insurance that includes coverage for liability for errors, omissions arising out of conducting the reports subject to the exclusions, conditions and terms that are consistent with normal insurance industry practice with a single claim limit of not less than $1 million per occurrence and an aggregate policy limit in the amount of not less than $2 million for all claims in a year or an automatic policy reinstatement feature.  Liability coverage should extend to sub-consultants. Alternatively, it will be acceptable to show that sub-consultants carry the same level of liability coverage.

# Limitations

Tarion acknowledges that reports described in this bulletin are prepared based on reasonable sampling and extrapolation of findings and that the expenditures forecasted in the Capital Replacement Plan and Pre-existing Elements Fund Study are the consultants’ best attempt to develop an opinion of the work likely to be required. Like all forecasting exercises, the reports and processes described in this Bulletin have been designed to reduce, but not necessarily eliminate uncertainty regarding the potential for a Pre-existing Element to require repair, modification and/or replacement not reflected in the Capital Replacement Plan and Pre-existing Elements Fund Study. This Bulletin also recognizes the inherent subjective nature of a consultant’s opinions with regards to the means of repair, opinions of repair cost and remaining useful life determination. The intent of the process is to make the future condominium corporation reasonably whole with respect to the Pre-existing Elements but there should be no expectation that the future costs will align perfectly with the predications in the Capital Replacement Plan or the Pre-existing Elements Fund Study.

# Pre-existing Elements Fund

The applicant shall establish and fund a separate trust escrow account to benefit the future RCCP condominium corporation with an arm’s length escrow agent (trust company, lawyer), to hold the Pre-existing Elements Fund. The amount to be contributed to the fund by the applicant is determined and calculated as described under the heading “Pre-existing Elements Fund Study” above. These funds may be required to be deposited to the trust account prior to enrollment of the project. Tarion has the sole authority to determine if the applicant can delay funding the Pre-existing Elements Fund until after enrollment is approved.  [NTD:  Tarion to develop form of PE Fund trust agreement – like a DTA.]

After registration, but prior to closing (to the transfer) of the first sale of a unit, the funds comprising the Pre-existing Elements Fund shall be transferred and deposited into a separate segregated trust account for the benefit of and controlled by the condominium corporation.

The condominium corporation may only use funds in the Pre-existing Elements Fund to pay for items described in the Expected Work Schedule.

# How does the Pre-existing Elements Fund relate to warranty claims?

Owners of condominium homes and the condominium corporation of the RCCP will make warranty claims in the normal course as would the owners of any new residential condominium corporation.

If a particular condition is to be considered for warranty protection, a claim must be made to Tarion within the prescribed time period on a recognized warranty form including a Performance Audit.  The condition referred to in the warranty claim shall be reviewed against the descriptions of works in the Pre-existing Elements Fund Study including the Expected Work Schedule.

A condominium corporation can decide to make the repair without involving Tarion or the vendor using the Pre-existing Elements Fund monies earmarked for such work, in which case no further claim related to the concern can be made to Tarion or the vendor. If, however, the condominium corporation is concerned that the funds allocated may not be sufficient to cover the cost of the related repair and wishes to engage or hold open the option to engage the statutory warranties, then the condominium corporation must make a timely warranty claim to Tarion and the vendor prior to making any decisions about what remedy to pursue and prior to spending applicable Pre-existing Element Funds. In this case, the condominium corporation shall obtain a recommendation from a professional regarding the appropriate repair and the proposed work plan shall be shared with Tarion and the vendor prior to proceeding.  If the vendor agrees with the proposed scope, then the condominium corporation can proceed to resolve the condition.

To the extent a particular condition on a warranty claim form is also an item which is outlined in the Expected Work schedule, then the expectation and requirement shall be that the condominium corporation shall utilize the funds in the Pre-existing Element Fund earmarked in the Expected Work Schedule to resolve the unacceptable condition (whether it is a unit claim or a common element claim).  If the funds in the category for the particular Expected Work are insufficient to resolve the warranted condition, and the item is otherwise determined to be warranted under the criteria of the ONHWP Act, then the residual work or funds necessary to resolve the claim will be addressed as a normal warranty claim which the vendor is obliged to address and failing which Tarion will address in accordance with the usual and ordinary rules relating to warranty claims.

If the work required to address any warranted claim does not align directly with the work described for a project in the Expected Work Schedule, then if the condominium corporation or a homeowner wishes to engage the statutory warranties, it must make a timely warranty claim to the vendor and Tarion without using funds from the Pre-Existing Elements Fund.

If a performance issue related to a Pre-existing Element arises after expiry of the related warranty period, the condominium corporation may use the monies earmarked the Expected Work Schedule (the EW Funds) to address the issue without involving Tarion or the vendor.

Examples of possible scenarios are as follows:

- If the Expected Work Schedule included a work item for replacement of a certain roof in year five, and leakage occurs in year two, then an evaluation is needed to determine if replacement is merited or if repair is sufficient. If replacement is needed, then any funds contributed by the applicant in the Pre-existing Elements Fund towards that roof replacement can be used by the condominium corporation to cover the cost of roof replacement. If the condominium corporation expects that the cost to replace will be more than the amount of available EW Funds, then a warranty claim can be made to the vendor and Tarion for the excess. Note that this warranty claim must be made in the usual course and prior to proceeding with the work, otherwise, the warranty claim will not be eligible.  If repair is found to be sufficient to address the current leakage, then the condominium corporation can pursue the claim under warranty. The EW Funds put aside for the replacement do not need to be used to cover the cost of the repair because these are not the same work.

- If the work identified in the Expected Work Schedule was to replace the heating coil in the make-up air unit in year five, and the heating coil fails in year one, then the corporation must apply the applicable EW Funds related to the heating coil to the repair (and make a warranty claim if the amount is not going to be sufficient to cover the repair).  Heating coil replacement would not be anticipated again in the first five years because the Normal Service Life is greater than five years.

- If the project identified in the Expected Work Schedule was to replace the heating coil in the make-up air unit in year five, and during the warranty period, the fan in the same make-up air unit required replacement, the condominium corporation would not be required to use the EW Funds and would instead make a warranty claim to the vendor and Tarion because the work is not the same as that described in the study.

- If the project identified in the Expected Work Schedule was an annual allowance to replace sealed insulating glazing units and some sealed insulating glazing units required replacement during the first-year warranty period, then the condominium corporation must apply the applicable EW Funds related to the first occurrence of this condition to the work (and make a warranty claim if the amount is not going to be sufficient to cover the repair). EW Funds set aside for the other years do not have to be brought forward, because further replacements in those years would still be expected.

- If the Expected Work Schedule included a project in year five to permit localized wall leakage repair but leakage repairs become necessary in year two, the condominium corporation would be required to apply the applicable EW Funds because this is the same work.

- The Expected Work Schedule included a project in year five to modernize the elevators but an elevator fails in year two and it becomes necessary for the elevators to be modernized sooner.  This elevator modernization would not have warranty coverage (because elevators only have first year warranty coverage). In this case, the condominium corporation can proceed with the modernization and apply the EW Funds related to this item to the project. Even if the builder contribution is not sufficient to cover the full cost of the work, there is no further warranty claim to be made. This is a situation like in any building when a component fails prematurely but outside of warranty. Predictions in the Expected Work Schedule are the consultant’s best opinion of the likely future performance of the components, but cannot be expected to be perfect. Some components will fail sooner than predicted and some will fail later than predicted.

# Disclosure

The Condominium Act requires the builder to disclose certain information about an RCCP to prospective purchasers. Section 74 of the Condominium Act, includes:

- A statement that the project is a residential condominium conversion project;

- A list of the Pre-existing Elements as identified in the Pre-existing Elements Fund Study;

- A copy of the Pre-existing Elements Fund Study;

- A statement reminding purchasers that the Pre-existing Elements are not covered by subsection 13 (1)(a)(i) of the ONHWP Act, meaning that they do not carry the warranty related to being constructed in a workmanlike manner and free from defects in material

- A copy of subsection 13 (1)(a)(i) and subsection 17.2 (1) of the ONHWP Act (see below); and

- A statement that the Registrar, as defined in the ONHWP Act, has confirmed that the conditions set out in subsection 17.2 (1) of the ONHWP Act have been satisfied.

# Builder Bulletin 19R Process for RCCP

In addition to the standard Builder Bulletin 19R process, all RCCPs are also subject to the following additional requirements.

The FRC must review the Property Assessment Report, the Capital Replacement Plan and the Pre-existing Elements Fund Study to understand the Pre-existing Elements, the repairs, modifications and/or replacements related to the Pre-existing Elements that are to be completed prior to registration as well as the Expected Work.

For the repairs, modifications and/or replacements being completed prior to registration (per the Pre-existing Elements Fund Study), the FRC’s Builder Bulletin 19R scope of work proposal should include an additional table of risk areas related to the planned repairs, modifications and/or replacements. For each planned repair, modification and/or replacement, the FRC shall propose the related document review, field review and proposed number of visits that will be completed to provide technical oversight of the work. The level of detail shall be commensurate with the level of review of similar work in the base Builder Bulletin 19R. If the applicant has engaged a separate consultant to design and oversee one or more of the works, then the number of visits by the FRC can be fewer than if no consultant has been engaged to oversee the works, but they should still be included in the FRC’s scope. Additional Design Review Certificates and Field Review Declarations may be needed related to these other consultant roles if the works are not being overseen by the main design team.

An example of a custom scope of work table related to the repairs, modifications and/or replacements being completed by the applicant prior to registration is included below.

Deficiencies related to these works prior to registration shall be tracked in the Milestone and Final reports in a similar manner to deficiencies in a new construction.

| EXAMPLE Table 12: Projects being Completed Prior to Registration of the RCCP |  |  |  |  |
| --- | --- | --- | --- | --- |
| ITEM | RISK AREAS | RISK | FACTORS |  |
|  |  | Documentation Review | Field Review | Proposed number of visits |
| 12.1 | Structural repair and waterproofing of garage parking levels. | Concrete mix/admixtures; reinforcing steel-coatings; patch details; shoring | Structural repair of the concrete slab including removals, cleaning and placing reinforcing steel and concrete placement. Protection from corrosion problems related to de-icing salts; protection against leakage: Traffic deck waterproofing system; upturns at terminations; seals at penetrations; joint sealing details; exterior ramp waterproofing/de-icing system; trench drain waterproofing; column/wall base protection at slab-on-grade | 12 |
| 12.2 | Repointing, brick replacement and shelf angle repairs at historic façade | Shelf angles; corrosion protection | Shelf angles; corrosion protection; securement; masonry units; connectors; control joints; locations; clear widths | 6 |
| 12.3 | Installation of elevator machine guarding and car top rails |  | Confirm installation | 1 |
|  | Additional as per the PEFS… |  |  |  |
|  |  |  | Total proposed number of visits: | 19 |

Howard Bogach
Registrar

# Appendix A

Descriptions of Pre-existing Elements for the Capital Replacement Plan

The following table lists the type of descriptive information that is needed for the Pre-existing Elements identified below. A similar level of detail is expected for unique Pre-existing Elements that are not listed in the table.

| Description Requirements for Pre-existing Elements |  |
| --- | --- |
| Pre-Existing Element | Description |
| Below Grade and Structure |  |
| Below grade / Foundation/Structure | Identify basic type of structures present for each building. Describe substructure (foundations, perimeter walls, the presence of basements or crawl spaces) and superstructure (floor framing system, roof framing system, penthouse framing system). |
| Balconies | Describe the nature of the balcony structural design (cantilevered, spanning side to side, nature of reinforcing steel in concrete slabs, soffit finishes where soffits are enclosed). See Life Safety for discussion of Balcony Guards. |
| Buried Roof Decks | Describe the structural framing system. Describe extent of buried roof decks. Describe type of membrane installed and the approximate depth of overburden. Indicate if there are mature trees located over the garage roof deck. |
| Suspended Parking Slabs | Describe the structural framing system. Describe waterproofing system installed. |
| Lowest Slab(s) | Describe the construction of the slab(s). Identify if structurally reinforced (raft, suspended slab) or if constructed as a slab on grade. |
| Exterior Vehicle Ramps | Identify the structural framing system. Indicate if ramp slabs are suspended or on grade. Describe topping and snow-melt system. |
| Vehicle Bridges | Identify the type of structure and the waterproofing system installed. |
| Exterior Closure |  |
| Exterior wall cladding | Identify cladding systems installed including describing the extent of each. Describe cladding vertical and lateral support systems. |
| Windows | Describe the window frames (materials, thermally-broken or not), glass (single/double/triple glazed, sealed units or removable double-glazing), type of operable units installed, and general configuration. |
| Doors | Describe the types of doors installed, noting any power operation features. |
| Skylights | Describe the type of skylight installed. Indicate if guarding is present around the skylights. |
| Roofing |  |
| Roofing | Describe the type of installation (conventional, protected membrane), membrane type, insulation type and thickness, ballast. Describe drainage. Describe counter-flashings. |
| Attic | For roofs with attics, describe the framing, insulation, vapour barrier, access, and ventilation. Describe the sheathing materials. Describe joist bracing. |
| Suspended access equipment | Describe the systems installed (anchors, davit bases, davit arms, cranes, rope stops, rope guides, tie-backs, horizontal life lines etc.). Describe where these facilities are installed and if the system permits access to windows only or the entire façade. |

| Life Safety Systems |  |
| --- | --- |
| Fire Detection and Alarm | Describe main panel and annunciator panels (location, number of panels, manufacture, model, number of alarm and supervisory zones and age). Describe voice communication and paging systems. Describe any CACF controls for ventilation equipment. |
| Fire Suppression | Describe the incoming service and whether backflow prevention is provided. For sprinkler systems, describe main valves, distributed valves, alarm supervision, piping type. Describe which system are wet and dry and describe coverage of same. Describe water storage facilities. For standpipes, describe the number of risers and locations of fire hose cabinets, types of valves installed. Describe fire department connections and private hydrants. |
| Passive Fire Safety | Fire Separation: Describe the construction and fire rating of fire separations. Egress: Describe the exit facilities. |
| Emergency Power | Describe battery-pack, battery-inverter type or generator-based emergency power systems. For generators, indicate make, model, capacity, age. Describe automatic transfer switch locations, capacities and systems served. |
| Smoke Control | Describe any pressurization fans, smoke shafts or smoke vents used for smoke control. |
| CO Detection | Describe CO detection and alarm equipment installed in and adjacent to rooms containing gas-fired appliances |
| Guards at Stairs, Balconies and other Edges | Describe guards including height, gap sizes, presence of climbable elements, type of glass installed and position relative to the protected edge. |
| Interior Finishes |  |
| Interior finishes, equipment, and furnishings | Describe any interior finishes, equipment or furnishing that will be retained as part of the RCCP. |
| Conveyance |  |
| Conveyance (Elevators, escalators, and other lifts) | Describe the type and number of installed equipment, manufacturer, age, date of last major modernization. Describe fire-fighter service provisions. Indicate if elevator recall is linked to on-floor smoke detectors or if it is a ground-floor recall only. Indicate if machine guarding and car top rails are installed if needed. |
| Mechanical |  |
| Heating and air conditioning | Describe the equipment used to generate and distribute heat and cooling (including terminal units) in terms of manufacturer, model, age, capacity, and method of distribution. For air conditioning, note the type of refrigerant used (R11 shall not be re-used in an RCCP). For terminal units, description of typical units is adequate (rather than describing each individual unit). Describe any supplemental heating and cooling systems, solar systems, geo-thermal etc. Describe any unusual systems installed such as refrigeration for ice-rinks, cold-storage, special computer cooling systems etc. Describe chimneys and fireplaces including chimney linings. |
| Ventilation | Describe major air supply and exhaust systems in terms of manufacturer, model, age, capacity, and method of distribution. For small exhaust fans, only a general description is needed (make, model, capacity not required). |
| Plumbing | Describe the type of piping used on incoming main, describe installation features (size of service, presence of metering, by-pass and backflow prevention). Describe type of piping used in distribution systems in the building, zoning/layout, recirculation systems. Describe how hot water is generated and stored, describing the equipment in terms of make, model, age, capacity. Identify if a mixing valve is installed to control water temperature. Describe the drainage system, piping, and any retention or detention systems or surface water features. Describe sump pits and pumps. |

| Electrical |  |
| --- | --- |
| Electrical service and Distribution | Describe incoming power service in terms of manufacturer, capacity, age. Identify type of wiring used in main risers and branch wiring. Describe transformers. Describe distribution panels. Describe any supplemental power generation systems such as solar or wind-power, full-time onsite generation capacity etc. Describe metering. Describe lightening protection systems. Describe metering systems. |
| Lighting | Describe types of lights installed. Describe any motion-sensing systems including determining if the models installed operate properly in smoke-filled spaces. |
| Sitework |  |
| Topography | General topography and proximity to flood plains. Describe anti-flooding provisions. |
| Paving, walkways, and patios | Identify the materials installed; describe locations of installations including noting if they are on grade vs. over a structure |
| Drainage | See Plumbing. |
| Site features | Describe fencing, retaining walls, irrigation systems, water features, signage, playground equipment, gazebos etc. |
| Special Utility Systems | Describe any water supply or wastewater treatment systems. |
| Acoustics |  |
| Acoustics | Describe the construction of acoustic separations. |
| Barrier-free |  |
| Barrier-free | Describe universal washrooms, power door operators and other barrier-free provisions. |
| Security Systems |  |
| Security systems | Describe access control, intercom, and entry-control systems in terms of number of stations, manufacturer, and age. |
| Other Systems |  |
| Other systems | Describe any Pre-existing Elements not mentioned above in terms of materials and extent. |

# Appendix B

Testing and Evaluation Requirements for Capital Replacement Plan

The following testing and investigation is required for Pre-existing Elements and the findings of the testing must be included in the Capital Replacement Plan.

NOTE: no testing is required for elements that will be removed as part of the development of the RCCP.

| Testing and Evaluation Requirements for Pre-existing Elements |  |
| --- | --- |
| Below Grade/Foundations |  |
| Foundations including footings, piers, and load-bearing foundation walls | Steel columns that extend below grade and have been exposed to salt-laden water should be excavated to evaluate the condition of the buried portions. The bases of columns at slabs-on-grade that have been subjected to salt-laden water must be hammer tapped to identify column base delamination. For other foundations, testing to be defined by the project structural engineer. |
| Slab-on-Grade | No special investigation or testing is expected as part of the Capital Replacement Plan for normal unreinforced slabs-on-grade except in the case of unusual cracking (which must be investigated with the scope defined by the project structural engineer). For structurally reinforced slabs see “conventionally reinforced concrete slabs” or “post-tensioned reinforced concrete” sections of this table, as applicable. Tie down anchors that require period stress testing should have the stress levels measured. |
| Load-Bearing Basement Walls | Testing to be defined by the project structural engineer. Visual review of the full perimeter of the foundation walls should be completed to identify areas with leakage or other deterioration. |
| Structure Note: The consultant must ensure that the removal and/or disassembly of building components, or other testing can be undertaken safely before commencing such work. |  |
| Conventionally Reinforced Concrete Slabs - previously exposed to parking | - A detailed component evaluation should be completed and include: - Sounding of 100% of the topside of the slab (chain drag) - Sounding of 100% of the ledge beams and column bases (hammer tap) - Sounding of a 25% representative sample of the underside of the slabs (hammer tap) - Corrosion-potential (half-cell) testing at each concrete pour - Chloride testing at 10mm to 20mm, 30mm to 40 mm and 60mm to 70mm depths at two samples locations in each concrete pour. - Concrete strength testing as required by the structural engineer taking responsibility for the structure. - Carbonation testing at two locations on the soffit of each concrete pour. - Visual review of 100% of the slab for evidence of leakage or other deterioration. |
| Conventionally Reinforced Concrete Slabs - to be exposed to parking (but were not previously) | A detailed component evaluation should be completed and include: - Chloride testing at 30mm to 40mm depth at one sample in each concrete pour to determine if admixed chlorides are present. - Concrete strength testing as required by the structural engineer taking responsibility for the structure. - Testing defined by the project structural engineer to permit confirmation of load capacity for the intended use. |
| Conventionally Reinforced Concrete Slabs - to be exposed as balconies (but previously within the building envelope) | If the new balconies will be waterproofed, the component evaluation should include: - Concrete strength testing as required by the structural engineer taking responsibility for the structure. - Sufficient visual review to determine work required to ensure drainage away from the building. If the new balconies will not be waterproofed, a detailed component evaluation should be completed and include: - Chloride testing at 30mm to 40 mm depth at one sample in each concrete pour. The presence of admixed chlorides will necessitate the installation of a waterproofing membrane on balconies. - Concrete strength testing as required by the structural engineer taking responsibility for the structure. - Testing to confirm the presence of sufficient admixed air to ensure durability when exposed to the exterior. - Sufficient visual review to determine work required to ensure drainage away from the building. |
| Balcony Slabs – to remain as balcony slabs | A detailed component evaluation should be completed and include: - At 25% of representative balconies: visual review, sounding of the slab edges, top-side and soffits to permit detection of structural deterioration (for all concrete balconies including conventionally reinforced, joist chord reinforced and precast etc.) - Remove soffit cladding (if present) at a minimum of 5% of balconies to permit review of concealed structural conditions. Extend this sample size if inconsistent results are detected such that a reasonable prediction of overall condition can be determined. Ensure that sufficient connections in structural steel buildings have been reviewed to permit the structural engineer an understanding of any damage that might have been caused by historic or ongoing leakage to define required repairs. |
| Unbonded Post-tensioned Concrete Slabs - previously exposed to parking | A detailed component evaluation should be completed and include: - Visual review and screwdriver penetration testing at a minimum of 25% of tendons on each floor or major structural component to be reused. As part of this testing, tightly sealed access panels shall be installed to permit review of these tendons again in the future by the condominium corporation. - In cases where the penetration testing detects under-stressed cables, testing to determine the extent of under-stressing and the implications on structural capacity. This testing scope shall be defined and overseen by the structural engineer for the project. |
| Bonded Post-tensioned Concrete Slabs - previously exposed to parking | A detailed component evaluation should be completed and include: - Visual review and screwdriver penetration testing at a minimum of 10% of tendons on each floor or major structural component to be reused. As part of this testing, tightly sealed access panels shall be installed to permit review of these tendons again in the future by the condominium corporation. In cases where the penetration testing detects under-stressed cables, testing to determine the extent of under-stressing and the implications on structural capacity. This testing scope shall be defined and overseen by the structural engineer for the project. |
| Post-tensioned Concrete Slabs – not previously exposed to parking | A detailed component evaluation should be completed and include: - Visual review and screwdriver penetration testing at a minimum of 5% of tendons on each floor or major structural component to be reused. As part of this testing, access panels shall be installed to permit review of these tendons again in the future by the condominium corporation. - In cases where the penetration testing detects under-stressed cables, testing to determine the extent of under-stressing and the implications on structural capacity. This testing scope shall be defined and overseen by the structural engineer for the project. |
| Autoclaved Aerated Concrete | - See discussion under Roofing for autoclaved concrete roof decks. - For autoclaved concrete interior floor slabs, complete 100% visual survey for deterioration or excessive deflection. If concealed by finishes, make openings to evaluate representative conditions. - Concrete strength testing as required by the structural engineer taking responsibility for the structure. - For autoclaved concrete block back-up walls, make exterior wall openings, one per 500m² of wall area type to evaluate the state of deterioration and condition of wall ties. |
| Heavy Timber Structures | No testing above that required by the project structural engineer (who will define the testing required to ensure structural adequacy). See “Environmental Concerns” for discussion of wood damaging organisms such as termites. |
| Steel Structures | A detailed component evaluation should be completed and include: - Inspection of a representative sample of steel members and connections. This may require removal of finishes and fire-stopping. - If parking levels are located above occupied spaces, or other conditions exist that could have resulted in long-term leakage onto concealed steel connections, ensure that sufficient connections in structural steel buildings have been reviewed to permit the structural engineer an understanding of any damage that might have been caused by historic or ongoing leakage to define required repairs. - For OWSJ with cold-form top steel chords that are a closed shape, evaluate the condition of the top chords where water might collect and cause corrosion. - For brick clad steel columns at the building exterior, brick must be removed at representative locations to evaluate the state of corrosion of the embedded columns if any cracking is present. |
| Exterior Closure Note: The consultant must ensure that the removal and/or disassembly of building components, or other testing can be undertaken safely before commencing such work. |  |
| Wall Cladding at Exterior Walls, and Parapets, including Exterior Sealants | A detailed component evaluation should be completed and include: - For high buildings, minimum 50% direct review of a representative of the total wall area by bosun’s chair or suspended stage, unless direct access is otherwise provided (example: balconies or terraces). - For low buildings, minimum 25% direct review of a representative of the total wall area. - Where the wall assembly is to remain in place, wall openings (interior and/or exterior) are to be completed at a sample of the wall types to confirm the assembly (anchorage of cladding to back-up, anchorage of back-up to structure, vertical support, water control flashings, insulation, air/vapour barrier, firestopping, etc.) and evaluate the condition of the concealed components. A minimum of 1 opening per 500 sq. m. of wall area type should be completed. Masonry parapets should be treated as a separate wall type. - Sealant test cuts should be completed, where sealants form an integral part of the cladding assembly. |
| Stacked header brick masonry | Where header brick masonry is stacked for many storeys without horizontal joints on a concrete-framed building, and the masonry was not originally designed to be load bearing, the wall investigation should take note of the condition of the header bricks to identify if any shearing has occurred that would disconnect the brick from the backup. The investigation should also consider if excessive loads have been transferred onto the brick from the structural frame due to shrinkage of the frame. |
| Windows | A detailed component evaluation should be completed and include: - Air and water leakage testing for compliance with CSA Standard A440. - Structural testing of a mock-up of each different window system to confirm the adequacy of the anchorage per CSA Standard A440. - Confirmation of compliance with OBC requirements for windows located within 1 m of the floor (glass type, ability to withstand guard loads) |
| Balcony Guards | See “Life Safety” |
| Soffits | Sufficient openings should be made to clearly understand the heating and insulating of soffits so that remedies needed to prevent cold floors can be developed. |
| Skylights | Review the location of skylights relative to the location of planned rooftop equipment to be able to define where guards must be installed to prevent workers on the rooftop from falling through the skylights. |
| Roofing (including Suspended Access Equipment) |  |
| Roofing | Complete the following in addition to the visual review. If the roof is snow covered at the time of review, then this must be identified in the key risk area list and conservative assumptions regarding remaining service life should be made. - For flat roofs with the membrane installed above the insulation and exposed, complete an infrared survey for evidence of moisture below or within the membrane including test cuts to confirm the findings. - For flat roofs with ballasted single ply membranes, no test cuts are required, but seams should be sampled for integrity and the roof should be reviewed for signs of tenting or other shifting of the membrane. - If the roof consists of an overlay over an older roof, this must be identified in the key risk area and a conservative service life assumption should be made. - For flat roofs with asphaltic membranes (exposed membranes as discussed above and protected membranes, where the membrane is installed under the insulation) complete test cuts at a minimum of 1 location per 500 sq. m. of roof area, to confirm the roof assembly, the condition of the roof components and the deck conditions. Test cuts are not needed at minor inconsequential roofs (such as small projections, small canopies) although the condition of these roofs shall be reviewed visually and via inspection of the underside for evidence of leakage. - If test cuts reveal phenolic foam insulation on a steel deck roof (which can form acid in the presence of leakage, causing structural damage to the roof deck below), make test openings 10’x10’ to permit review of the condition of the steel deck at enough locations to be able confident that the conditions seen are representative of the overall deck. - a moisture susceptible roof deck (such as “Siporex” – autoclaved aerated lightweight concrete), make test openings 10’x10’ to permit review of the condition of the deck at enough locations to be confident that the conditions seen are representative of the overall deck. A structural engineer will need to review and issue a letter confirming the entire roof deck area can support the required loads. - For sloped roofs or flat roofs with an attic space below, the assessment should include a representative review of attic spaces and intrusive review of any concealed attic spaces to permit visual review for evidence of leakage, and evaluation of the adequacy of the ventilation. |
| Suspended Access Systems | An inspection by a qualified contractor or consultant should be completed for compliance with the current Ontario Ministry of Labour requirements and CSA Z91 requirements if an existing, valid report, certifying the system for use (with all identified deficiencies corrected), is not available. |
| Life Safety |  |
| Fire Alarm System | Submit latest annual fire alarm inspection report and certificate. Determine age of typical smoke detectors and include a project to replace at ten years old. |
| Sprinkler and Standpipe Systems | Submit latest annual suppression system inspection report and certificate, confirming that all deficiencies identified during the review have been rectified. Test the flow capacity of the fire pump against required flow. |
| Emergency Power | For Generator: Submit latest annual generator inspection report and load test reports. Submit generator and fuel system compliance report per TSSA and CSA requirements. If full load test has not been completed as part of routine testing, this test must be completed as part of the Capital Replacement Plan preparation. For battery based systems: Test operation of equipment. |
| Fire Separations | Complete test cuts as required to determine the construction to allow confirmation of code compliance. |
| Egress | Handled as part of the building permit process. No testing required here. |
| CO Detection | Submit latest annual inspection report and certificate. Determine age of typical CO detectors and include a project to replace at ten years old. |
| Smoke Control | Provide a copy of the latest annual fire test indicating that the pressurization equipment is functional. If one is not available, complete an annual inspection. |
| Balcony Guards (and similar – on retaining walls etc.) | A detailed component evaluation should be completed and include: - Load testing for compliance with Ontario Building Code. - Measurements at a representative sample of guards for compliance with the applicable dimensional requirements of the Ontario Building Code. - Verification that the glass meets the requirement of the Ontario Building Code. |
| Stairwell Guards | A detailed component evaluation should be completed and include: - Load testing for compliance with Ontario Building Code. - Measurements at a representative number of guards for compliance with the dimensional requirements of the Ontario Building Code. |
| Low Windows | For low windows that represent a risk to children falling, describe if guards are installed. If not, complete load testing to confirm that the windows can withstand guard loading (or indicate that guards will be installed as part of the conversion) to ensure that the building is fit for habitation. |
| Interiors |  |
| Wall and Floor Assemblies | Intrusive investigation of a representative sample of the interior wall and floor assemblies should be completed to confirm the existing construction and assembly (materials and fire resistance rating), including concealed fire stopping. Sound all floor and wall tiling to detect areas that are debonded. |
| Equipment and Furnishings | Complete reasonable testing to ensure that the equipment or furnishing can fulfill its intended purpose. Confirm flame spread and smoke developed ratings. |
| Conveyance (Elevators, Escalators and Lifts) |  |
| Ropes, Machine, Controls | Confirm that inspections and testing required by TSSA are up to date. Complete any outstanding. Confirm date of last control modernization. |
| Hoist way | Visual review of hoist way for corrosion of elevator equipment or evidence of leakage. |
| Mechanical (HVAC and Plumbing) |  |
| Domestic Water Service | Main service: if lead or galvanized, identify in key risk table. Backflow prevention: confirm that annual testing is up to date and registered with the municipality if that is a local requirement. |
| Domestic Water Generation and Storage | Detailed inspection by a qualified contractor including review of the tank lining for concrete-lined tanks. For glass storage and heater tanks, confirm age and history of leakage. Domestic water boilers: see heating boilers. |
| Water Distribution Piping | Confirm age of piping and history of leakage. For galvanized cold water piping, complete test cuts to evaluate the extent of corrosion. Identify galvanized piping and Kitec piping in the key risk table. |
| Sanitary and Storm Water Drainage Piping | Hydrostatic, pneumatic or smoke testing for cracks and leaks in sanitary piping; camera survey of storm water piping. Visual review of storm water retention or detection tanks. Confirm operation of sump pumps. Onsite sewage disposal systems – inspection of tank for excessive sludge and scum and piping and connections for cracking. Test operation of pumps (if applicable). For foundation wall and footing drainage systems, evaluate whether perimeter drainage piping is intact and able to drain water to sump pits or storm water system by excavation or camera inspection |
| Irrigation | See Sitework. |
| Chillers | Confirm age. Confirm refrigerant in use. Confirm operational status. Confirm that the room and equipment comply with CSA B-52 |
| Cooling Towers | Confirm age. Confirm operational status. Visual review of interior of tower. |
| Boilers | Confirm age and operational status. |
| Make-up air units | Confirm age and operational status. Measure air flow if unlabelled. |
| HVAC piping and valves | Confirm age of piping and history of leakage. For systems over 50 years old, complete a pipe condition survey of a representative sample including cut tests and microscopic and metallographic examination as well as hydrostatic, pneumatic or smoke testing for cracks and leaks. |
| HVAC ductwork | Camera survey of any ductwork to be reused to evaluate corrosion, gaps, missing insulation (if installed on interior of ductwork), ponding, presence of required fire dampers. |
| Pumps | Confirm age and operational status. |
| Chimneys | Confirm the lining of all masonry chimneys and budget to line where currently unlined (including boiler venting). |
| Fireplaces | Obtain proof of WETT certification of installation for all solid-fuel burning fireplaces. If not available, have the system inspected by a WETT certified inspector. |
| Electrical |  |
| Electrical Service and Distribution | Confirm age and operational status. |
| Lighting | Measure light levels for comparison against Ontario Building Code requirements |
| Snow Melting Systems and Heat Tracing | Thermographic survey to confirm operation. |
| Sitework |  |
| Retaining Walls | 100% visual survey for deterioration. |
| Pavements | 100% visual survey for deterioration. |
| Buried Services | See storm and sanitary drainage piping in “Services”. For water piping, conduct pressure testing to ensure the integrity of the piping. For buried electrical wiring, test for ground faults. |
| Sub-surface Conditions | Testing as required by the design structural engineer. |
| Irrigation | Pressure test system for leakage. Ensure back-flow preventer is installed. |
| Acoustics |  |
| Interior Separations | Field testing of acoustic separations to confirm that they provide the STC rating required by applicable code. Representative samples can be tested in the event of repetitive installations. Floors and walls. |
| Equipment Isolation | Visual review of existing isolation equipment installed at mechanical Pre-existing Elements. |
| Barrier-free |  |
| Power Door Operators | Test operation. Confirm height of controls complies with applicable code. |
| Barrier-free stalls and Universal Washrooms | Detailed measurements to confirm installation conforms with applicable code requirements. |
| Doors | Measurements to confirm that installation meets latch side clearances, glass light placement, glass protection and identification, door opening force, graspable requirements etc. per applicable code requirements. |
| Waste Disposal |  |
| Garbage Chute | Camera survey of chute for full height to identify any gaps, corrosion, loose fasteners etc. that might require repair. Test operation of wash-down system. |
| Compactor | Determine age and operational status. |
| Sorter | Determine age and operational status including controls at each floor level. |
| Security |  |
| General | Determine age and operational status. |
| Environmental Concerns |  |
| Site Assessment | Complete a Phase 1 environmental report per ASTM Standard E1527-13 and any follow-up phase 2 testing recommended by the Phase 1 report. |
| Hazardous Materials | The existing designated substance and hazardous materials survey should be reviewed to identify which hazards relate to the Pre-existing Elements. These must be described in the description of the Pre-existing Element and factored into the expenditure budget. If no hazardous materials survey has been completed, one is required to be completed to cover the Pre-existing Elements. |
| Pests | Describe existing pest management protocols in place. For wood framed, note any observed evidence of termite infestation. [NTD: anything else for termites and other wood damaging organisms, rodents or insects] |
| Mould | To be considered as part of the Phase 1 evaluation. Complete any phase 2 testing identified as necessary. |
| Radon | If the building is in one of the designated areas listed in section 3.1.1.2 of the Building Code and if this section of the code applies to the pre-existing element, test the radon 222 levels to permit design of required gas mitigation systems. |

# Appendix C

Sample Capital Replacement Plan Schedule of Repairs and Replacements

In this sample, the Pre-existing Elements include the building frame, a single-story garage with a buried roof deck, a section of historic façade with windows, two elevators and a concrete-lined hot water storage tank. In the garage, the slab-on-grade was replaced, along with all new sprinklers, lighting, fans etc.

Uninflated Forecasted Expenditures

| Anticipated Repairs and Replacements |  | Present Cost | Year of First Occurrence | Years between Occurrences | Limits on Future Occurrences | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032-2041 | 2042-2051 | 2052-2061 | 2062-2067 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Structure |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1.1 | Injection waterproofing at foundation walls | $10,00 | 2022 | 5 |  |  | $10,000 |  |  |  |  | $10,000 |  |  |  |  | $20,000 | $20,000 | $20,000 | $10,000 |
| 1.2 | Repair garage roof deck waterproofing | $50,000 | 2026 | 35 |  |  |  |  |  |  | $ 50,000 |  |  |  |  |  |  |  |  | $50,000 |
| 1.3 | Replace garage roof deck waterproofing including repair to concrete slab | $600,000 | 2031 | 35 |  |  |  |  |  |  |  |  |  |  |  | $600,000 |  |  |  | $600,000 |
| 2 | Exterior Closure |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1.1 | Replace window perimeter sealants | $30,000 | 2024 | 40 | Alternate with window replacement |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2.2 | Replace windows | $100,000 | 2040 | 40 |  |  |  |  |  |  |  |  |  |  |  |  | $1,000,000 |  |  |  |
| 2.3 | Masonry refurbishment including repointing and local brick replacement | $75,000 | 2027 | 20 |  |  |  |  |  |  |  | $100,000 |  |  |  |  |  | $100,000 |  | $100,000 |
| 3 | Conveyance |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3.1 | Replace door operators | $60,000 | 2025 | 20 |  |  |  |  |  | $60,000 |  |  |  |  |  |  |  | $60,000 |  | $60,000 |
| 3.2 | Modernize elevator controls | $400,000 | 2030 | 25 |  |  |  |  |  |  |  |  |  |  | $400,000 |  |  | $400,000 |  |  |
| 4 | Mechanical |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4.1 | Reline hot water tank | $7,500 | 2023 | 10 | 2 prior to replacement |  |  | $7,500 |  |  |  |  |  |  |  |  | $7,500 |  |  |  |
| 4.2 | Replace hot water tank with smaller tanks | $40,000 | 2040 | 15 |  |  |  |  |  |  |  |  |  |  |  |  | $40,000 |  |  |  |
| Total Anticipated Uninflated Expenditure |  |  |  |  |  |  | $10,000 | $7,500 |  | $60,000 | $50,000 | $110,000 |  |  | $400,000 | $600,000 | $1,067,500 | $580,000 | $20,000 | $820,000 |

# Appendix D

Sample Capital Replacement Plan Expected Works Schedule

In this sample, the Pre-existing Elements include the building frame, a single-story garage with a buried roof deck, a section of historic façade with windows, two elevators and a concrete-lined hot water storage tank. In the garage, the slab-on-grade was replaced, along with all new sprinklers, lighting, fans etc.

Uninflated Forecasted Expenditures

| Expected Work |  | Present Cost | Year of First Occurrence | Years between Occurrences | Limits on Future Occurrences | 2021 | 2022 | 2023 | 2024 | 2025 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Structure |  |  |  |  |  |  |  |  |  |
| 1.1 | Injection waterproofing at foundation walls | $10,00 | 2022 | 5 |  |  | $10,000 |  |  |  |
| 3 | Conveyance |  |  |  |  |  |  |  |  |  |
| 2.1 | Replace door operators | $60,000 | 2025 | 20 |  |  |  |  |  | $60,000 |
| 4 | Mechanical |  |  |  |  |  |  |  |  |  |
| 4.1 | Reline hot water tank | $7,500 | 2023 | 10 | 2 prior to replacement |  |  | $7,500 |  |  |
| Total Anticipated Uninflated Expenditure |  |  |  |  |  |  | $10,000 | $7,500 |  | $60,000 |

Based on this schedule of Expected Work, the applicant’s contribution to the Pre-existing Element Fund would be $77,500 (covering all work planned for the Initial Period of 2021 to 2025).

# Appendix E: References

ASTM E2018-15: Standard Guide for Property Condition Assessments: Baseline Property Condition Assessment Process.

PEO:  Structural Condition Assessments of Existing Buildings and Designated Structures, Revision 35, Feb 11, 2016 [Tarion: should modify reference if finalized in time.]

BSTAP: Report of the Building Safety Technical Advisory Panel, January 27, 2016

Remaining to do list:

            - Public consultation – ensure we get reviewed by environmental engineer – will hazardous materials survey identify if there is lead in historic masonry and similar items that might impact project budgets, acoustic engineer – are there limits in code related to sound levels created by existing mechanical equipment that can be field tested? Code consultant – do we have the code section in PAR correct?

            - Current version of PEO Guideline when published

See section 17.4. of the ONHWP Act.

S.2(2.1) of the Condominium Act.

See section 72.(1) of the Condominium Act.

registration date is the date of registration of the Declaration and Description of the Residential Condominium Conversion Project and is the warranty start date for the common elements.

In this document the word “applicant” means the proponent of the RCCP who seeks registration of a vendor and builder for the RCCP and enrolment of the RCCP.  Where the term “builder” is used, it refers to both “vendor” and “builder” as these terms are defined in the ONHWP Act.

Initial Period:  The Initial Period is the five years following registration of the condominium.

specialty sub-consultants are individuals or entities who have acquired detailed, specialized knowledge and experience in the design, evaluation, operation, repair or operation of the components involved in their field of expertise.

Remaining Service Life, for a repair or replacement, means the time between the start of the analysis period (the anticipated registration date) and the time when the forecasted Expected Work is next predicted to occur.

Normal Service Life, for complete replacement of an element or system, means the industry-accepted time between replacements (such as how often a roof gets replaced). For repairs which include less than full replacement (such as a major overhaul, replacement of parts within a piece of equipment), means how often this type of significant repair is typically needed for that element.