Regulatory Registry Posting Supporting Document

Other changes contemplated for inclusion in the Interruptible Rate Pilot and Administrative Review regulatory registry posting are as follows:

| Item | Description of Proposed Change |
| --- | --- |
| Transfer of market participant load to different transformer station | Would allow consumers to remain in Class A in certain cases where part of their load is transferred to a new facility. |
| Clarifying the eligibility criteria for facilities within specific NAICS codes. | Would clarify that a facility is eligible for ICI at the lower (i.e., 500 kW) threshold if their eligibility requirements are met exclusively by a business activity identified by NAICS codes commencing with the digits 31, 32, 33, or 1114. |
| Administration of changes of ownership | Would allow LDCs and IESO to process changes of ownership of ICI facilities for their respective customers. |
| Change of ownership of part of a facility | Would provide for the processing of changes of ownership for ICI facilities where only part of the facility is transferred. Each portion of a severed facility would require an individual meter that meets Measurement Canada requirements, as of the date of the change, to assess their ongoing ICI status. |
| IESO notification deadline | Would change the deadline for IESO to provide peak demand factors to LDCs from May 31 to June 30. |
| Clarification on storage injections | The proposed change to section 11(4.1)2 would modify the calculation of peak demand factors to also account for the volume of electricity injected into a distribution system by storage devices. |
| Clarify the definition of total system demand | To clarify that the term ‘net volume of electricity withdrawn’ (section 1 (4)) is the total volume of electricity withdrawn, and not the volume net of energy injected over the billing period. |
| Include storage injections in the peak demand calculation | Would modify the adjusted peak demand calculation to include storage injections into the IESO-controlled grid and distribution system in section 9(1)(b). |
| Clarify the exemption from GA charges for Class B facilities providing ancillary services | Would clarify that only the volume of electricity withdrawn from station service components of a facility can be exempt from GA charges. |
| Conservation and Demand Management (CDM) | Would update the definition of eligible conservation and demand management (CDM) programs to help ensure that Class A customers who fall below the demand eligibility threshold while participating in qualifying current and future IESO-administered or LDC-delivered CDM programs or pilot initiatives established under Ministerial direction continue to be eligible for ICI. |